## X4 Current Data
TAG NO: | [6 empty] | Hookup Drawing No: | [5 empty] | Loop Wiring Diagrams: | [7 empty] | CC-SPM-FGCP-7601-01
[7 empty] | Spec No: | [5 empty] | Vessel Number: |  |  |  |  | Electrical Protection Method | Gas / Dust Groups | Temperature Category | CC-SPM-FOJB-1010A-01
Asset No: | [6 empty] | P&ID: | [5 empty] | Line ID: |  |  | Size: | Schedule: |  |  |  | CC-SPM-FOJB-1010B-01
Service Description: | [12 empty] | Manufacturer: |  |  |  |  | EEx o | IIC | T1 | CC-SPM-IJB-7510A-01
[13 empty] | Model: |  |  |  |  | EEx p | IIC | T2 | CC-SPM-IJB-7510B-01
P.O. Number: | [9 empty] | User 1: | [7 empty] | EEx q | IIB | T2A | CC-SPM-IJB-7610A-02
REQ. Number: | [9 empty] | User 2: | [7 empty] | EEx d | IIA | T2B | CC-SPM-IJB-7610B-02
GENERAL | [17 empty] | EEx e | I | T2C | CC-SPM-IJB-7710A-02
| Area Classification: | [16 empty] | EEx ia | N/A | T2D | CC-SPM-IJB-7710B-01
| Ambient Relative Humidity: | [16 empty] | EEx ib |  | T3 | CC-SPM-LCP-7501-01
| Ambient Temperature: | [16 empty] | EEx n | Certification | T3A | CC-SPM-LCP-7701-01
| Type Device: | [16 empty] | EEx m |  | T3B | CC-SPM-SW-7101-06
| Dimensions: | [16 empty] | EEx s | BASEEFA Eexd IIB T4 & T5 | T3C | CC-SPM-SW-7101-07
[18 empty] | N/A | ATEX | T4 | CC-SPM-SW-7101-FOJB01-01
INPUT CHARACTERISTICS | [18 empty] | CENELEC EN50014 and EN50018 | T4A | CC-SPM-SW-7101-FOJB01-02
|  |  |  | Signal 0 |  |  |  |  | Signal 1 |  |  |  |  | Input values correspond to IEC 61131-2 Digital Inputs Ue is external input voltage Type should match the value chosen in Type Device Field |  |  |  |  | UL Listed: Class 1, Zone 1 & 2, AExd IIB T4 & T5 | T5 | IC-SPM-DVS-6001-01
| Voltage limits 24VDC: | [17 empty] | N/A | T6 | IC-SPM-DVS-6001-02
| Voltage limits 120VAC: | [18 empty] | N/A | IC-SPM-ELD-7104-01
| Voltage limits 230VAC: | [16 empty] | Voltage |  |  | IC-SPM-ELD-7108-01
| Current Limits 24VDC: | [17 empty] | Switch Type: | Reset: | IC-SPM-ELV-7103-01
| Current Limits 120VAC: | [16 empty] | 24 V DC |  |  | IC-SPM-ELV-7103-02
| Current Limits 230VAC: | [16 empty] | 110 V AC 50/60Hz | SPDT | None | IC-SPM-FD-S7630-01
| Electrical Protection: | [5 empty] | Temperature Category: | [10 empty] | Other | N/A | Remote | IC-SPM-FD-S7631-01
| Gas Group: |  |  |  | Enclosure Protection IP Rating: | [12 empty] | N/A | See Notes | N/A | IC-SPM-FD-S7632-01
| Connection 1: | [10 empty] | Connection 2: | [8 empty] | IC-SPM-FD-S7633-01
IC-SPM-FD-S7634-01
OPTIONAL | [18 empty] | Mechanical |  | IC-SPM-FD-S7635-01
| Led Indication | [17 empty] | N/A |  | IC-SPM-FD-S7636-01
| Other: | [17 empty] | See Notes |  | IC-SPM-FD-S7637-01
IC-SPM-FD-S7638-01
IC-SPM-FD-S7639-01
[18 empty] | Enclosure Protection IP Rating |  |  | IC-SPM-FD-S7640-01
NOTES | [17 empty] | First Number - Protection against solids ingress | Second Number - Protection against water ingress |  | IC-SPM-FD-S7641-01
[18 empty] | 0 | 0 |  | IC-SPM-FD-S7660-01
[18 empty] | 1 | 1 |  | IC-SPM-FD-S7661-01
[18 empty] | 2 | 2 |  | IC-SPM-FD-S7662-01
[18 empty] | 3 | 3 |  | IC-SPM-FD-S7663-01
[18 empty] | 4 | 4 |  | IC-SPM-FD-S7664-01
[18 empty] | 5 | 5 |  | IC-SPM-FD-S7680-01
[18 empty] | 6 | 6 |  | IC-SPM-FD-S7681-01
[18 empty] | N/A | 7 |  | IC-SPM-FD-S7682-01
| ATEX REGISTER | [17 empty] | 8 |  | IC-SPM-FIT-6640-01
| EC Type Examination Cert. | [8 empty] | NOBO REF NUMBER | [8 empty] | N/A |  | IC-SPM-GD-S7604-01
| EC Declaration of Conformity | [8 empty] | User 3: | [7 empty] | ENCLOSURE PROTECTION: |  |  | IC-SPM-GD-S7605-01
| Production QA Notification | [8 empty] | User 4: | [7 empty] | IP20 |  |  | IC-SPM-GD-S7606-01
| Prod. QA Not. Validity Date | [8 empty] | User 5: | [7 empty] | IP40 |  |  | IC-SPM-GD-S7607-01
[18 empty] | IP54 |  |  | IC-SPM-GD-S7608-01
[18 empty] | IP56 |  |  | IC-SPM-GD-S7609-01
[18 empty] | IP65 |  |  | IC-SPM-GD-S7611-01
[18 empty] | IP66 |  |  | IC-SPM-GD-S7612-01
[18 empty] | IP67 |  |  | IC-SPM-GD-S7613-01
[18 empty] | IP68 |  |  | IC-SPM-GD-S7614-01
[18 empty] | See Notes |  |  | IC-SPM-GD-S7615-01
User 6: | [9 empty] | User 8: | [10 empty] | IC-SPM-GD-S7616-01
User 7: | [9 empty] | User 9: | [10 empty] | IC-SPM-GD-S7625-01
IC-SPM-GD-S7626-01
[11 empty] | INSTRUMENT SPECIFICATION | [9 empty] | IC-SPM-GD-S7627-01
[11 empty] | Digital Input | [9 empty] | IC-SPM-GD-S7650-01
IC-SPM-GD-S7651-01
IC-SPM-GD-S7652-01
[11 empty] | Project : |  |  |  | Sheet | [5 empty] | IC-SPM-GD-S7653-01
[11 empty] | Project No.: |  |  |  | BES Dwg: | [5 empty] | IC-SPM-GD-S7654-01
REV |  | By | Chk | App |  | Date |  | Revision Description |  |  | Form No. DS_BES_Handsw |  |  |  | Client Dwg | [5 empty] | IC-SPM-GD-S7655-01
F:\Elect Inst\All\Engineering Database\Datasheets\[DS_BES_DI.xlsx]X4 Current Data | [14 empty] | 2022-06-08 10:55 | [5 empty] | IC-SPM-GD-S7656-01
IC-SPM-GD-S7657-01
IC-SPM-GD-S7670-01
IC-SPM-GD-S7671-01
IC-SPM-GD-S7672-01
IC-SPM-GD-S7673-01
IC-SPM-HPU-9401-HS02A-01
IC-SPM-HPU-9401-HS02B-01
IC-SPM-HPU-9401-HS03A-01
IC-SPM-HPU-9401-HS03B-01
IC-SPM-HPU-9401-LIT05-01
IC-SPM-HPU-9401-LIT07-01
IC-SPM-HPU-9401-PB01-01
IC-SPM-HPU-9401-PIT04-01
IC-SPM-HPU-9401-PIT06-01
IC-SPM-HPU-9401-SV01-01
IC-SPM-HPU-9401-SV02-01
IC-SPM-HPU-9401-SV03-01
IC-SPM-HPU-9401-TIT08-01
IC-SPM-HS-3501A-01
IC-SPM-HS-3501B-01
IC-SPM-HS-6601A-01
IC-SPM-HS-6601B-01
IC-SPM-HS-6602A-01
IC-SPM-HS-6602B-01
IC-SPM-IJB-3510-01
IC-SPM-IJB-3520-01
IC-SPM-IJB-6610-01
IC-SPM-IJB-6620-01
IC-SPM-IJB-6640-01
IC-SPM-IJB-6650-01
IC-SPM-IJB-7101-01
IC-SPM-IJB-7101-02
IC-SPM-IJB-7101-03
IC-SPM-IJB-7101-04
IC-SPM-IJB-7101-05
IC-SPM-IJB-7101-06
IC-SPM-IJB-7101-07
IC-SPM-IJB-7507-01
IC-SPM-IJB-7507-02
IC-SPM-IJB-7507-03
IC-SPM-IJB-7507-04
IC-SPM-IJB-7610A-01
IC-SPM-IJB-7610A-03
IC-SPM-IJB-7610A-04
IC-SPM-IJB-7707-01
IC-SPM-IJB-7710A-01
IC-SPM-IJB-9101-01
IC-SPM-IJB-9410-01
IC-SPM-IJB-9410-02
IC-SPM-IJB-9420-01
IC-SPM-LD-7102-01
IC-SPM-LD-7102-02
IC-SPM-LD-7107-01
IC-SPM-LD-7107-02
IC-SPM-LIT-3521-01
IC-SPM-LIT-3522-01
IC-SPM-LIT-6621-01
IC-SPM-LIT-6622-01
IC-SPM-LIT-6651-01
IC-SPM-LV-7101-01
IC-SPM-LV-7101-02
IC-SPM-MFS-S7690-01
IC-SPM-MFS-S7691-01
IC-SPM-PB-3501-01
IC-SPM-PB-6601-01
IC-SPM-PB-6602-01
IC-SPM-PIT-3510-01
IC-SPM-PIT-6610-01
IC-SPM-PIT-6645-01
IC-SPM-PIT-9111-01
IC-SPM-PIT-9112-01
IC-SPM-PIT-9150-01
IC-SPM-PIT-9151-01
IC-SPM-SDY-9101-01
IC-SPM-SV-3501A-01
IC-SPM-SV-3501B-01
IC-SPM-SV-6601A-01
IC-SPM-SV-6601B-01
IC-SPM-SV-6602A-01
IC-SPM-SV-6602B-01
IC-SPM-SW-7101-01
IC-SPM-SW-7101-02
IC-SPM-SW-7101-03
IC-SPM-SW-7101-04
IC-SPM-SW-7101-05
IC-SPM-SW-7110-LCP01-01
IC-SPM-TIT-3505-01
IC-SPM-TIT-6603-01
IC-SPM-TIT-6605-01
IC-SPM-TIT-6606-01
IC-SPM-TIT-9121-01
IC-SPM-UPS-7105-01
IC-SPM-UPS-7106-01
IC-SPM-UPS-7106-02
IC-SPM-WI-9801A-01
IC-SPM-WI-9801B-01
IC-SPM-WI-9801C-01
IC-SPM-X-5502-IJB10-01
IC-SPM-X-5503-IJB10-01
IC-SPM-XI-9105-01
IC-SPM-XI-9160-01
Service:
Critical:
rev
rev
rev
rev
rev
Note on G24: Protection Method EEx o - Oil Immersion (zone 1, 2) EEx p - Pressurization (zone 1, 2) EEx q - Powder Filling (zone 1, 2) EEx d - Flameproofing (Explosion Proof) (zone 1, 2) EEx e - Increased Safety (zone 1, 2) EEx ia - Intrinsic Safety (zone 0, 1, 2) EEx ib - Intrinsic Safety (zone 1, 2) EEx n - Non-Incedive (zone 1, 2) EEx m - Encapsulation (zone 1, 2) EEx s - Special Protection (zone 0, 1, 2)
Note on P24: Temperature Category T1 - 450 oC T2 - 300 oC T2A - 280 oC T2B - 260 oC T2C - 230 oC T2D - 215 oC T3 - 200 oC T3A - 180 oC T3B - 165 oC T3C - 160 oC T4 - 135 oC T4A - 120 oC T5 - 100 oC T6 - 85 oC
Note on F25: Gas / Dust Groups IIC - Acetylene IIC - Hydrogen IIB - Ethylene IIA - Propane I - Methane
Note on O25: Protection against solids ingress. 0 - No protection against live or moving parts. 1 - Protection against contact by large surfaces. 2 - Protection against contact by fingers. 3 - Protection against contact by tools, wires objects > 2.5mm. 4 - Protection against contact by tools, wires objects > 1.0mm. 5 - Complete protection against contact. Ingress of dust not in harmful quantities. 6 - Complete protection against contact. Protection against Ingress of dust. Protection against water ingress. 0 - No protection. 1 - Protection against drops of condensed water. 2 - Protection against liquid drops at 15o from vertical. 3 - Protection against liquid drops at 60o from vertical. 4 - Protection against spashing from any direction. 5 - Protection against water jets from any direction under stated conditions. 6 - Protection against heavy sea water under stated conditions. 7 - Protection against water immersion under stated conditions of pressure and time. 8 - Protection against indefinite immersion in water under specified pressure.

## Previous Data
TAG NO: |  |  |  | Hookup Drawing No: |  |  | Loop Number:
|  |  |  | Spec No: |  |  | HAND SWITCH / PUSH BUTTON
Asset No: |  |  |  | P&ID:
Service Description: | [6 empty] | Manufacturer:
Model:
P.O. Number: | [5 empty] | User 8:
REQ. Number: | [5 empty] | User 9:
GENERAL
Area Classification:
Ambient Relative Humidity:
Ambient Temperature:
Type Device:
Function:
SWITCH
Body Material:
Mounting:
SS Tag:
Enclosure Colour:
Approval(s):
Contact Arrangement:
Contact Voltage:
Contact Rating:
| Electrical Protection: |  |  | Temperature Category:
| Gas Group: | Enclosure Protection IP Rating:
| Switch Type: |  | Reset: |  | Reset Type:
Gland Connection:
OPTIONAL
Protective Cover:
Led Indication
Other:
NOTES
ATEX REGISTER
| EC Type Examination Cert. |  |  |  |  | NOBO REF NUMBER
| EC Declaration of Conformity |  |  |  |  | User 1:
| Production QA Notification |  |  |  |  | User 2:
| Prod. QA Not. Validity Date |  |  |  |  | User 3:
User 4: | [5 empty] | User 6:
User 5: | [5 empty] | User 7:
Note on G25: Protection Method EEx o - Oil Immersion (zone 1, 2) EEx p - Pressurization (zone 1, 2) EEx q - Powder Filling (zone 1, 2) EEx d - Flameproofing (Explosion Proof) (zone 1, 2) EEx e - Increased Safety (zone 1, 2) EEx ia - Intrinsic Safety (zone 0, 1, 2) EEx ib - Intrinsic Safety (zone 1, 2) EEx n - Non-Incedive (zone 1, 2) EEx m - Encapsulation (zone 1, 2) EEx s - Special Protection (zone 0, 1, 2)
Note on P25: Temperature Category T1 - 450 oC T2 - 300 oC T2A - 280 oC T2B - 260 oC T2C - 230 oC T2D - 215 oC T3 - 200 oC T3A - 180 oC T3B - 165 oC T3C - 160 oC T4 - 135 oC T4A - 120 oC T5 - 100 oC T6 - 85 oC
Note on F26: Gas / Dust Groups IIC - Acetylene IIC - Hydrogen IIB - Ethylene IIA - Propane I - Methane
Note on O26: Protection against solids ingress. 0 - No protection against live or moving parts. 1 - Protection against contact by large surfaces. 2 - Protection against contact by fingers. 3 - Protection against contact by tools, wires objects > 2.5mm. 4 - Protection against contact by tools, wires objects > 1.0mm. 5 - Complete protection against contact. Ingress of dust not in harmful quantities. 6 - Complete protection against contact. Protection against Ingress of dust. Protection against water ingress. 0 - No protection. 1 - Protection against drops of condensed water. 2 - Protection against liquid drops at 15o from vertical. 3 - Protection against liquid drops at 60o from vertical. 4 - Protection against spashing from any direction. 5 - Protection against water jets from any direction under stated conditions. 6 - Protection against heavy sea water under stated conditions. 7 - Protection against water immersion under stated conditions of pressure and time. 8 - Protection against indefinite immersion in water under specified pressure.
Note on F27: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on K27: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on Q27: Please click arrow to SELECT one of the items on the list or leave BLANK
Service:
Critical:
Service:
Critical:
rev
Service:
Critical:
rev
rev

## Previous Revisions
Rev | Date | Status | By

## Field Definition Help
Field Color Definitions
Text Labels
Linked Database field - Care must be taken while entering Data into these fields. This will affect the Process and Equipment Information.
Linked Database Fields Data - Full data entry allowed
Linked REBIS Field for Revisions where there is a break between sections - Data entry not allowed (read only)
Linked REBIS Field for Revisions - Data entry not allowed (read only)
Unlinked DataBase Field - Not linked into Rebis Database
Linked Database Fields Data - Drop down menu item picks only
Unused areas
Section Groupings