## Current Data
TAG NO: | [8 empty] | Spec: | [9 empty] | Asset No:
[9 empty] | P&ID: | [9 empty] | Associated Equipment:
P.O. Number: | [8 empty] | REQ. Number: | [9 empty] | Manufacturer: |  |  | 1)
Service Description: | [18 empty] | Type / Catalogue No: |  |  |  | 1)
Place of manufacturer: |  |  |  |  | 1) | [5 empty] | Main parts country of origin | [7 empty] | Serial No: |  |  | 1)
Local service organisation: |  |  |  |  | 1) | [5 empty] | Stator: |  |  | 1) |  |  |  |  | Supplier:
Country: |  |  |  |  | 1) | [5 empty] | Rotor: |  |  | 1) |  |  | User 4: |  | Applicable codes:
| PROCESS CONDITIONS | [15 empty] | POWER SYSTEM DATA | [12 empty] | Yes/No | Location |  | Earthing | Frequency | ENCLOSURE PROTECTION: |  |  | ELECTRICAL PROTECTION: | GAS GROUP: | TEMPERATURE CATEGORY:
| Location: |  |  |  | Offshore | [11 empty] | System Voltage | [6 empty] | Frequency | [5 empty] | Yes | Indoor |  | TN | 50Hz. | IP20 |  |  | Ex p | IIC | T1
| Ambient air temperature: | [28 empty] | No | Outdoor |  | TT | 60Hz. | IP40 |  |  | Ex d | IIB | T2
| Max Relative Humidity: | [15 empty] | Min. System short circuit capacity: | [13 empty] | Offshore |  | IT | N.A. | IP54 |  |  | Ex de | IIA | T2A
| Direct sunlight: |  |  |  | Yes | [11 empty] | Max. System short circuit capacity: | [17 empty] | IP55 |  |  | Ex e | I | T2B
| Area classification (IEC 60079-10): | [15 empty] | Earthing | [12 empty] | Connection |  | Poles |  | Speed | IP56 |  |  | Ex n | N/A | T2C
| BASIC PERFORMANCE | [28 empty] | Star |  | 2 |  | 750 rpm. | IP65 |  |  | Ex s | SEE NOTES | T2D
| Rated output (@ site conditions): | [15 empty] | Enclosure prot.(IEC 60034-5) Casing: | [12 empty] | Delta |  | 4 |  | 900 rpm. | IP66 |  |  | N/A |  | T3
| Motor duty (S class IEC 60034-1): | [15 empty] | Enclosure prot.(IEC 60034-5) Terminal Box: | [12 empty] | Star/Delta |  | 6 |  | 1000 rpm. | IP67 |  |  | SEE NOTES |  | T3A
| Synchronous speed: | [13 empty] | rpm |  | Electrical Protection: | [6 empty] | Temperature Category: | [7 empty] | 8 |  | 1200 rpm. | IP68 |  |  |  |  | T3B
| Frame size (IEC 60072): | [5 empty] | 1) | [9 empty] | Gas Group: | [12 empty] | Starting Method |  |  |  | 1500 rpm. | See Notes |  |  |  |  | T3C
| Starting method: | [15 empty] | Insulation thermal class (IEC 60085): | [12 empty] | Direct on Line |  |  |  | 1800 rpm. | [5 empty] | T4
| Max starting current using starting method: | [15 empty] | Temperature rise class (Resist. Method): | [12 empty] | Star/Delta |  |  |  | 3000 rpm. | [5 empty] | T4A
| Connection: | [15 empty] | Cooling method (IEC 60034-6): | [12 empty] | Variable Speed |  |  |  | 3600 rpm. | [5 empty] | T5
| Mounting | [15 empty] | Noise at 1 metre (max 77 dB(A)): | [5 empty] | 1) | [6 empty] | See Notes | [9 empty] | T6
| Mounting type (IEC 60034-7): | [15 empty] | Top coat colour: | [22 empty] | N/A
| Direction of rotation facing DE: | [15 empty] | Moment of inertia motor: | [5 empty] | 1) | [6 empty] | Mounting |  |  |  | Mounting Type | Cooling Method |  |  |  |  | SEE NOTES
| DRIVEN EQUIPMENT CHARACTERISTICS | [28 empty] | Horizontal foot |  |  |  | IM B 3 | IC 4A1A1
| Torque characteristic: | [15 empty] | Maximum radial force on shaft: | [6 empty] | Maximum axial force on shaft: | [5 empty] | Horizontal flanged |  |  |  | IM B 5 | IC 5A1A1
| Inertia related to motor speed: | [15 empty] | Coupling/pulley |  |  |  |  | furnished by: Driven equipment supplier | [7 empty] | Vertical foot |  |  |  | IM B 6 | IC 6A1A1
| Drive system: | [20 empty] | mounted by: Driven equipment supplier | [7 empty] | Vertical flanged |  |  |  | IM V 1
| PROTECTIVE DEVICES | [28 empty] | See Notes |  |  |  | IM V 3
| Winding temperature detectors: | [6 empty] | Detector type: | [8 empty] | Number per phase: |  |  |  |  | Anti-condensation heaters (>5kW): | [7 empty] | Direction of Rotation |  |  |  | IM V 6 | Torque characteristic |  |  | Proposed coupling fit:
| TERMINATIONS | [28 empty] | CW |  |  |  | Other | Quadratic |  |  | Keyed
| MAIN CONNECTIONS | [15 empty] | HEATER |  |  | HEATER | [9 empty] | CCW |  |  |  |  | Constant |  |  | Hydraulic
| Location of terminal box facing DE: | [8 empty] | Busduct I x w: | [6 empty] | Cable type: | [6 empty] | Number / size: | [5 empty] | Both | [7 empty] | Integral
| Cable type: | [6 empty] | Number / size: | [8 empty] | Overall dia.:
| Overall dia.: | [6 empty] | Earthing bolt: | [8 empty] | Gland make: |  |  |  |  | Gland Type: | [5 empty] | Entry: |  | Detector Type |  |  |  | Drive System | Location Terminal Box
| Gland make: |  |  |  |  | Gland Type: | [5 empty] | Entry: |  |  |  |  | PROTECTIVE DEVICES | [12 empty] | Thermistor |  |  |  | Direct | Top |  | Entry
[17 empty] | Cable type: | [6 empty] | Number / size: | [5 empty] | PT100 |  |  |  | Gearbox | Right Side |  | Side
[17 empty] | Overall dia.: | [16 empty] | Pulley | Left Side |  | Bottom
[17 empty] | Gland make: |  |  |  |  | Gland Type: | [5 empty] | Entry:
| NOTES | [28 empty] | Test |  |  |  | Proposed coupling fit |  | Bearing
| 1) Seller to complete. All other data to be completed by buyer and any deviations to be noted by seller. | [28 empty] | Witnessed |  |  |  | Keyed |  | Ball
[30 empty] | Unwitnessed |  |  |  | Hydraulic |  | Roller
Integral
[30 empty] | Lubricant |  |  |  | Lub System
[30 empty] | Grease |  |  |  | Sealing
[30 empty] | Shell type: |  |  |  | Regreasable
ATEX REGISTER
| EC Type Examination Cert. |  |  |  |  | 1) | [9 empty] | NOBO REF NUMBER |  |  |  |  | 1)
| EC Declaration of Conformity |  |  |  |  | 1) | [9 empty] | User 1:
| Production QA Notification |  |  |  |  | 1) | [9 empty] | User 2:
| Prod. QA Not. Validity Date |  |  |  |  | 1) | [9 empty] | User 3:
| User 4 | [14 empty] | User 7
| User 5 | [14 empty] | User 8
| User 6 | [14 empty] | User 9
DATASHEET
L.V. Induction Motor
[17 empty] | Project : | [7 empty] | Sheet
[17 empty] | Project No.: | [7 empty] | BES Dwg:
REV |  | By |  | Chk | App |  | Date |  |  | Revision Description | [6 empty] | Form No. BES DS_LV Ind_Motor | [7 empty] | Client Dwg
Y:\1_PROJS\1-2021-1\Engineering - ElecInstr\Instrumentation\EDB\Datasheets\[DS_BES_LV_Ind_Motor.xlsx]Current Data | [24 empty] | 2021-11-16 16:10
TESTS
| Performance test (type test): | [13 empty] | Special test(s)
Routine test:
ELECTRICAL PERFORMANCE
| Rated Voltage: |  |  |  | 1) |  |  | Full Load Speed: |  |  |  |  | 1) |  |  |  | Number of poles: |  |  |  | 1) |  |  | Te time (min 5 s):
| Current | [15 empty] | Locked rotor current
| @100% Load |  |  | 1) | @75% Load |  |  | 1) |  | @50% Load |  |  | 1) |  |  |  | @Un | 1) |  | @0.8 Un |  | 1)
| Efficiency | [15 empty] | LR Power Factor | [6 empty] | Pull-up torque
| @100% Load |  |  | 1) | @75% Load |  |  | 1) |  | @50% Load |  |  | 1) |  |  |  | @Un | 1) |  | @0.8 Un |  | 1) |  | @Un |  | 1) |  | @0.8 Un | 1)
| Power Factor | [15 empty] | Locked rotor torque | [6 empty] | Max. torque
| @100% Load |  |  | 1) | @75% Load |  |  | 1) |  | @50% Load |  |  | 1) |  |  |  | @Un | 1) |  | @0.8 Un |  | 1) |  | @Un |  | 1) |  | @0.8 Un | 1)
CONSTRUCTION DATA
| Proposed coupling fit: | [6 empty] | Bearing lifetime: |  |  |  |  | 1) |  |  |  | Lubricant: |  | 1) |  |  |  |  | Lub. System: |  |  | 1)
| DE Bearings | [15 empty] | Max. relubrication interval: |  |  |  | 1)
| Make |  | 1) |  | Type |  | 1) |  |  | Clearance |  | 1) |  |  |  |  | Mass
| NDE Bearings | [15 empty] | Total: | 1) |  |  | Stator: |  | 1) |  |  | Rotor: |  | 1)
| Make |  | 1) |  | Type |  | 1) |  |  | Clearance |  | 1) |  |  |  |  | Material
| Bearings | [15 empty] | Frame: | 1) |  |  | Enclosure: |  | 1) |  |  | Fan: |  | 1)
| Max. temp. |  |  | 1) | temp rise (max 55 K): |  |  |  | 1) |  | Insulated: |  |  | 1) |  |  | Dimensions ( w x d x h): |  |  |  | 1)
RELATED DRAWINGS
| Outline drawing number: |  |  |  |  | 1) |  |  |  |  | Schematic diagram number: | [5 empty] | 1) |  |  |  | Connection diagram number: | [5 empty] | 1)
RELATED DATASHEETS
Starter datasheet number:
DEVIATIONS FROM DATASHEET
DATASHEET
L.V. Induction Motor
[17 empty] | Project : | [7 empty] | Sheet
[17 empty] | Project No.: | [7 empty] | BES Dwg:
REV |  | By |  | Chk | App |  | Date |  |  | Revision Description | [6 empty] | Form No. BES DS_LV Ind_Motor | [7 empty] | Client Dwg
Y:\1_PROJS\1-2021-1\Engineering - ElecInstr\Instrumentation\EDB\Datasheets\[DS_BES_LV_Ind_Motor.xlsx]Current Data | [24 empty] | 2021-11-16 16:10
rev
rev
rev
rev
Note on Z13: .. MVA
Note on Z14: .. MVA
Note on B17: ..kW
Note on I17: ..kW
Note on AA17: Protection against solids ingress. 0 - No protection against live or moving parts. 1 - Protection against contact by large surfaces. 2 - Protection against contact by fingers. 3 - Protection against contact by tools, wires objects > 2.5mm. 4 - Protection against contact by tools, wires objects > 1.0mm. 5 - Complete protection against contact. Ingress of dust not in harmful quantities. 6 - Complete protection against contact. Protection against Ingress of dust. Protection against water ingress. 0 - No protection. 1 - Protection against drops of condensed water. 2 - Protection against liquid drops at 15o from vertical. 3 - Protection against liquid drops at 60o from vertical. 4 - Protection against spashing from any direction. 5 - Protection against water jets from any direction under stated conditions. 6 - Protection against heavy sea water under stated conditions. 7 - Protection against water immersion under stated conditions of pressure and time. 8 - Protection against indefinite immersion in water under specified pressure.
Note on AA18: Protection against solids ingress. 0 - No protection against live or moving parts. 1 - Protection against contact by large surfaces. 2 - Protection against contact by fingers. 3 - Protection against contact by tools, wires objects > 2.5mm. 4 - Protection against contact by tools, wires objects > 1.0mm. 5 - Complete protection against contact. Ingress of dust not in harmful quantities. 6 - Complete protection against contact. Protection against Ingress of dust. Protection against water ingress. 0 - No protection. 1 - Protection against drops of condensed water. 2 - Protection against liquid drops at 15o from vertical. 3 - Protection against liquid drops at 60o from vertical. 4 - Protection against spashing from any direction. 5 - Protection against water jets from any direction under stated conditions. 6 - Protection against heavy sea water under stated conditions. 7 - Protection against water immersion under stated conditions of pressure and time. 8 - Protection against indefinite immersion in water under specified pressure.
Note on B19: …rpm
Note on I19: 750 rpm 50Hz. 8 poles 900 rpm 60Hz. 8 poles 1000 rpm 50Hz. 6 poles 1200 rpm 60Hz. 6 poles 1500 rpm 50Hz. 4 poles 1800 rpm 60Hz. 4 poles 3000 rpm 50Hz. 2 poles 3600 rpm 60Hz. 2 poles
Note on X19: Protection Method Ex o - Oil Immersion (zone 1, 2) Ex p - Pressurization (zone 1, 2) Ex q - Powder Filling (zone 1, 2) Ex d - Flameproofing (Explosion Proof) (zone 1, 2) Ex e - Increased Safety (zone 1, 2) Ex ia - Intrinsic Safety (zone 0, 1, 2) Ex ib - Intrinsic Safety (zone 1, 2) Ex n - Non-Incedive (zone 1, 2) Ex m - Encapsulation (zone 1, 2) Ex s - Special Protection (zone 0, 1, 2)
Note on AF19: Temperature Category T1 - 450 oC T2 - 300 oC T2A - 280 oC T2B - 260 oC T2C - 230 oC T2D - 215 oC T3 - 200 oC T3A - 180 oC T3B - 165 oC T3C - 160 oC T4 - 135 oC T4A - 120 oC T5 - 100 oC T6 - 85 oC
Note on V20: Gas / Dust Groups IIC - Acetylene IIC - Hydrogen IIB - Ethylene IIA - Propane I - Methane
Note on Z24: dB(A)
Note on Z25: RAL
Note on I26: CW - Clockwise CCW - Counter Clockwise Both
Note on Z26: kgm²
Note on Y28: N
Note on AG28: N
Note on I29: kgm²
Note on V36: mm.
Note on E37: mm.
Note on V40: mm.
Note on O73: 750 rpm 50Hz. 8 poles 900 rpm 60Hz. 8 poles 1000 rpm 50Hz. 6 poles 1200 rpm 60Hz. 6 poles 1500 rpm 50Hz. 4 poles 1800 rpm 60Hz. 4 poles 3000 rpm 50Hz. 2 poles 3600 rpm 60Hz. 2 poles
Note on AE73: s.
Note on E75: A.
Note on U75: A.
Note on E77: %
Note on O81: hrs.
Note on X82: hrs.
Note on E87: ºC
Note on K87: ºK
Note on X87: WxDxH mm.

## Previous Data
TAG NO: | [7 empty] | Spec:
[8 empty] | P&ID: | [6 empty] | Associated Equipment:
P.O. Number: | [7 empty] | REQ. Number: | [6 empty] | Manufacturer:
Service Description: | [14 empty] | Type / Catalogue No:
Place of manufacturer: | [9 empty] | Main parts country of origin |  |  |  |  | Serial No:
Local service organisation: | [9 empty] | Stator: |  |  |  |  | Supplier:
Country | [9 empty] | Rotor: |  |  |  |  | Applicable codes:
| PROCESS CONDITIONS | [12 empty] | POWER SYSTEM DATA
| Location: | [12 empty] | System Voltage |  |  |  |  | Frequency
Ambient air temperature:
| Max Relative Humidity: | [12 empty] | Min. System short circuit capacity:
| Direct sunlight: | [12 empty] | Max. System short circuit capacity:
| Area classification (IEC 60079-10): | [12 empty] | Earthing
BASIC PERFORMANCE
| Rated output (@ site conditions): | [12 empty] | Enclosure prot.(IEC 60034-5) Casing:
| Motor duty (S class IEC 60034-1): | [12 empty] | Enclosure prot.(IEC 60034-5) Terminal Box:
| Synchronous speed: | [12 empty] | Electrical Protection: |  |  |  |  | Temperature Category:
| Frame size (IEC 60072): | [12 empty] | Gas Group:
| Starting method: | [12 empty] | Insulation thermal class (IEC 60085):
| Max starting current using starting method: | [12 empty] | Temperature rise class (Resist. Method):
| Connection: | [12 empty] | Cooling method (IEC 60034-6):
| Mounting | [12 empty] | Noise at 1 metre (max 77 dB(A)):
| Mounting type (IEC 60034-7): | [12 empty] | Top coat colour:
| Direction of rotation facing DE: | [12 empty] | Moment of inertia motor:
DRIVEN EQUIPMENT CHARACTERISTICS
| Torque characteristic: | [12 empty] | Maximum radial force on shaft: |  |  |  |  | Maximum axial force on shaft:
| Inertia related to motor speed: | [12 empty] | Coupling/pulley |  |  |  | furnished by: Driven equipment supplier
| Drive system: | [16 empty] | mounted by: Driven equipment supplier
PROTECTIVE DEVICES
| Winding temperature detectors: | [5 empty] | Detector type: | [6 empty] | Number per phase: |  |  |  | Anti-condensation heaters (>5kW):
TERMINATIONS
| MAIN CONNECTIONS | [12 empty] | HEATER |  | HEATER
| Location of terminal box facing DE: | [7 empty] | Busduct I x w: |  |  |  |  | Cable type: |  |  |  |  | Number / size:
| Cable type: | [5 empty] | Number / size: | [6 empty] | Overall dia.:
| Overall dia.: | [5 empty] | Earthing bolt: | [6 empty] | Gland make: |  |  |  | Gland Type: |  |  |  | Entry:
| Gland make: |  |  |  | Gland Type: | [5 empty] | Entry: |  |  | PROTECTIVE DEVICES
[14 empty] | Cable type: |  |  |  |  | Number / size:
Overall dia.:
[14 empty] | Gland make: |  |  |  | Gland Type: |  |  |  | Entry:
NOTES
ATEX REGISTER
| EC Type Examination Cert. | [11 empty] | NOBO REF NUMBER
| EC Declaration of Conformity | [11 empty] | User 1:
| Production QA Notification | [11 empty] | User 2:
| Prod. QA Not. Validity Date | [11 empty] | User 3:
| User 4 | [11 empty] | User 7
| User 5 | [11 empty] | User 8
| User 6 | [11 empty] | User 9
DATASHEET
L.V. Induction Motor
[14 empty] | Project : | [5 empty] | Sheet
[14 empty] | Project No.: | [5 empty] | BES Dwg:
REV |  | By | Chk | App |  | Date |  |  | Revision Description |  |  |  |  | Form No. BES DS_LV Ind_Motor | [5 empty] | Client Dwg
Y:\1_PROJS\1-2021-1\Engineering - ElecInstr\Instrumentation\EDB\Datasheets\[DS_BES_LV_Ind_Motor.xlsx]Current Data | [19 empty] | 2021-11-16 16:10
TESTS
| Performance test (type test): | [10 empty] | Special test(s)
Routine test:
ELECTRICAL PERFORMANCE
| Rated Voltage: | [5 empty] | Full Load Speed: | [6 empty] | Number of poles: |  |  |  |  | Te time (min 5 s):
| Current | [12 empty] | Locked rotor current
| @100% Load |  |  | @75% Load |  |  |  |  | @50% Load |  |  |  |  | @Un |  | @0.8 Un
| Efficiency | [12 empty] | LR Power Factor |  |  |  |  | Pull-up torque
| @100% Load |  |  | @75% Load |  |  |  |  | @50% Load |  |  |  |  | @Un |  | @0.8 Un |  |  | @Un |  |  | @0.8 Un
| Power Factor | [12 empty] | Locked rotor torque |  |  |  |  | Max. torque
| @100% Load |  |  | @75% Load |  |  |  |  | @50% Load |  |  |  |  | @Un |  | @0.8 Un |  |  | @Un |  |  | @0.8 Un
CONSTRUCTION DATA
| Proposed coupling fit: | [5 empty] | Bearing lifetime: | [6 empty] | Lubricant: |  |  |  |  | Lub. System:
| DE Bearings | [12 empty] | Max. relubrication interval:
| Make |  |  | Type |  |  |  |  | Clearance |  |  |  |  | Mass
| NDE Bearings | [12 empty] | Total: |  |  | Stator: |  |  |  | Rotor:
| Make |  |  | Type |  |  |  |  | Clearance |  |  |  |  | Material
| Bearings | [12 empty] | Frame: |  |  | Enclosure: |  |  |  | Fan:
| Max. temp. |  |  | temp rise (max 55 K): | [5 empty] | Insulated: |  |  |  | Dimensions ( w x d x h):
RELATED DRAWINGS
| Outline drawing number: | [8 empty] | Schematic diagram number: | [6 empty] | Connection diagram number:
RELATED DATASHEETS
Starter datasheet number:
DEVIATIONS FROM DATASHEET
Note on Z13: .. MVA
Note on Z14: .. MVA
Note on B17: ..kW
Note on I17: ..kW
Note on AA17: Protection against solids ingress. 0 - No protection against live or moving parts. 1 - Protection against contact by large surfaces. 2 - Protection against contact by fingers. 3 - Protection against contact by tools, wires objects > 2.5mm. 4 - Protection against contact by tools, wires objects > 1.0mm. 5 - Complete protection against contact. Ingress of dust not in harmful quantities. 6 - Complete protection against contact. Protection against Ingress of dust. Protection against water ingress. 0 - No protection. 1 - Protection against drops of condensed water. 2 - Protection against liquid drops at 15o from vertical. 3 - Protection against liquid drops at 60o from vertical. 4 - Protection against spashing from any direction. 5 - Protection against water jets from any direction under stated conditions. 6 - Protection against heavy sea water under stated conditions. 7 - Protection against water immersion under stated conditions of pressure and time. 8 - Protection against indefinite immersion in water under specified pressure.
Note on AA18: Protection against solids ingress. 0 - No protection against live or moving parts. 1 - Protection against contact by large surfaces. 2 - Protection against contact by fingers. 3 - Protection against contact by tools, wires objects > 2.5mm. 4 - Protection against contact by tools, wires objects > 1.0mm. 5 - Complete protection against contact. Ingress of dust not in harmful quantities. 6 - Complete protection against contact. Protection against Ingress of dust. Protection against water ingress. 0 - No protection. 1 - Protection against drops of condensed water. 2 - Protection against liquid drops at 15o from vertical. 3 - Protection against liquid drops at 60o from vertical. 4 - Protection against spashing from any direction. 5 - Protection against water jets from any direction under stated conditions. 6 - Protection against heavy sea water under stated conditions. 7 - Protection against water immersion under stated conditions of pressure and time. 8 - Protection against indefinite immersion in water under specified pressure.
Note on B19: …rpm
Note on I19: 750 rpm 50Hz. 8 poles 900 rpm 60Hz. 8 poles 1000 rpm 50Hz. 6 poles 1200 rpm 60Hz. 6 poles 1500 rpm 50Hz. 4 poles 1800 rpm 60Hz. 4 poles 3000 rpm 50Hz. 2 poles 3600 rpm 60Hz. 2 poles
Note on X19: Protection Method EEx o - Oil Immersion (zone 1, 2) EEx p - Pressurization (zone 1, 2) EEx q - Powder Filling (zone 1, 2) EEx d - Flameproofing (Explosion Proof) (zone 1, 2) EEx e - Increased Safety (zone 1, 2) EEx ia - Intrinsic Safety (zone 0, 1, 2) EEx ib - Intrinsic Safety (zone 1, 2) EEx n - Non-Incedive (zone 1, 2) EEx m - Encapsulation (zone 1, 2) EEx s - Special Protection (zone 0, 1, 2)
Note on AF19: Temperature Category T1 - 450 oC T2 - 300 oC T2A - 280 oC T2B - 260 oC T2C - 230 oC T2D - 215 oC T3 - 200 oC T3A - 180 oC T3B - 165 oC T3C - 160 oC T4 - 135 oC T4A - 120 oC T5 - 100 oC T6 - 85 oC
Note on V20: Gas / Dust Groups IIC - Acetylene IIC - Hydrogen IIB - Ethylene IIA - Propane I - Methane
Note on Z24: dB(A)
Note on Z25: RAL
Note on I26: CW - Clockwise CCW - Counter Clockwise Both
Note on Z26: kgm²
Note on Y28: N
Note on AG28: N
Note on I29: kgm²
Note on V36: mm.
Note on E37: mm.
Note on V40: mm.
Note on O73: 750 rpm 50Hz. 8 poles 900 rpm 60Hz. 8 poles 1000 rpm 50Hz. 6 poles 1200 rpm 60Hz. 6 poles 1500 rpm 50Hz. 4 poles 1800 rpm 60Hz. 4 poles 3000 rpm 50Hz. 2 poles 3600 rpm 60Hz. 2 poles
Note on AE73: s.
Note on E75: A.
Note on U75: A.
Note on E77: %
Note on O81: hrs.
Note on X82: hrs.
Note on E87: ºC
Note on K87: ºK
Note on X87: WxDxH mm.
rev
rev

## Previous Revisions
Rev | Date | Status | By
A | 22/10/2008 | INITIAL ISSUE | GBLO

## Field Definition Help
Field Color Definitions
Text Labels
Linked Database field - Care must be taken while entering Data into these fields. This will affect the Process and Equipment Information.
Linked Database Fields Data - Full data entry allowed
Linked REBIS Field for Revisions where there is a break between sections - Data entry not allowed (read only)
Linked REBIS Field for Revisions - Data entry not allowed (read only)
Unlinked DataBase Field - Not linked into Rebis Database
Linked Database Fields Data - Drop down menu item picks only
Unused areas
Section Groupings