## V3 Current Data
Note: These cells are linked to the datasheet due to restrictions with Excel on merging cells and importing Data.
TAG NO: | [6 empty] | Hookup Drawing No: |  |  |  |  | Loop Wiring Diagrams: | [7 empty] | Solenoid |  |  |  | General
[7 empty] | Spec No: |  |  |  |  | Vessel Number:
Asset No: | [6 empty] | P&ID: |  |  |  |  | Line ID: |  |  |  | Size: | Schedule: |  |  | Type: | Coil: |  |  | Yes/No
Service Description: | [11 empty] | Manufacturer: | [6 empty] | Note: These cells are linked to the datasheet due to restrictions with Excel on merging cells and importing data. | 2-Way | Single Coil |  |  | Yes
[12 empty] | Model: | [6 empty] | Project Name: | 3-Way | Double Coil |  |  | No
P.O. Number: | [9 empty] | User 1: | [8 empty] | Process Line No.: | 4-Way | N/A |  |  | N/A
REQ. Number: | [9 empty] | User 2: | [8 empty] | Pipe Spec.: | N/A | See Notes |  |  | See Notes
PROCESS CONDITIONS | [18 empty] | Service:
| Area Classification: | [7 empty] | Ambient Temperature Requirements: | [8 empty] | Units: | Tag No:
[7 empty] | Fluid 1 |  |  |  |  | Fluid 2 (for 4 way only) | [6 empty] | Pipe Size.:
Required Cv:
Fluid:
Max Temperature:
Max Pressure:
| Operating Differential Pressure: | [18 empty] | Transmitter:
Max Differential Pressure:
| Max Allowable Differential Pressure: | [18 empty] | Power: |  | Power: |  |  | Signal |  | Protical | Location: |  | Relay 1 (2/3/4):
| SG/Density/mol.wgt.: | [18 empty] | 24 VDC |  | Loop |  |  | 4 - 20 mA |  | HART |  |  | None
| Viscosity: | [18 empty] | ~110 VAC 50/60 Hz |  | 3-Wire |  |  | 0 - 5 VDC |  | ModBus | Outdoors |  | N/C
[20 empty] | ~220 VAC 50/60 Hz |  | 4-Wire |  |  | Pulse |  | FF | Remote |  | N/O
SOLENOID | [19 empty] | N/A |  | N/A |  |  | N/A |  | ProfiBus | Integral |  | N/A
| Type: |  |  |  |  | Coil: |  |  |  | Voltage: |  |  |  | Power Wiring: | [5 empty] | See Notes |  | See Notes |  |  | See Notes |  | Serial | N/A |  | See Notes
| Pilot Operated: | [8 empty] | Communication Protocol: |  |  |  | Location: | [12 empty] | DE | See Notes
| Mounting: | [8 empty] | Electrical Protection: |  |  |  | Temperature Category: | [12 empty] | N/A
| Body Size: | [8 empty] | Gas Group: |  |  | Enclosure Protection IP Rating: | [13 empty] | See Notes
| Body Material: | [8 empty] | Coil Insulation:
| Disc Material: | [8 empty] | Main Valve Action when coil is Deenergized:
| Packing Style: | [8 empty] | Manual Over-ride:
| Gland Connection: | [8 empty] | Manual Reset:
| Port Connections: | [8 empty] | Manufacturer
| Seat Material: | [8 empty] | Model No.
| Connection 1: | [8 empty] | Connection 2:
NOTES | [19 empty] | ELECTRICAL CLASSIFICATIONS:
[20 empty] | Electrical Protection: |  |  | Gas Group: |  |  | Temperature Category: |  |  | Enclosure Protection 1st |  | 2nd:
[20 empty] | Ex o |  |  | IIC |  |  | T1 |  |  | 0 |  | 0
[20 empty] | Ex p |  |  | IIB |  |  | T2 |  |  | 1 |  | 1
[20 empty] | Ex q |  |  | IIA |  |  | T2A |  |  | 2 |  | 2
[20 empty] | Ex d |  |  | I |  |  | T2B |  |  | 3 |  | 3
[20 empty] | Ex e |  |  | N/A |  |  | T2C |  |  | 4 |  | 4
[20 empty] | Ex ia |  |  | See Notes |  |  | T2D |  |  | 5 |  | 5
| ATEX REGISTER | [18 empty] | Ex ib | [5 empty] | T3 |  |  | 6 |  | 6
| EC Type Examination Cert. | [8 empty] | NOBO REF NUMBER | [9 empty] | Ex n | [5 empty] | T3A |  |  | N/A |  | 7
| EC Declaration of Conformity | [8 empty] | User 3: | [9 empty] | Ex m | [5 empty] | T3B |  |  | See Notes |  | 8
| Production QA Notification | [8 empty] | User 4: | [9 empty] | Ex s | [5 empty] | T3C |  |  |  |  | N/A
| Prod. QA Not. Validity Date | [8 empty] | User 5: | [9 empty] | N/A | [5 empty] | T4 |  |  |  |  | See Notes
[20 empty] | See Notes | [5 empty] | T4A
T5
T6
N/A
See Notes
ENCLOSURE PROTECTION:
IP20
IP40
IP54
IP56
User 6: | [9 empty] | User 8: | [18 empty] | IP65
User 7: | [9 empty] | User 9: | [18 empty] | IP66
IP67
[11 empty] | INSTRUMENT SPECIFICATION | [17 empty] | IP68
[11 empty] | Solenoid Valve | [17 empty] | See Notes
[11 empty] | Project : |  |  |  | Sheet
[11 empty] | Project No.: |  |  |  | BES Dwg:
REV |  | By | Chk | App | Date |  |  | Revision Description |  |  | Form No. DS_BES_SOL_V |  |  |  | Client Dwg
Y:\1_PROJS\1-2021-1\Engineering - ElecInstr\Instrumentation\EDB\Datasheets\[DS_BES_SOL_V.xlsx]V3 Current Data | [14 empty] | 2021-11-16 16:44
rev
rev
rev
rev
rev
rev
rev
Note on D23: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on L23: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on U23: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on AD23: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on F24: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on W24: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on AD24: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on W25: Protection Method Ex o - Oil Immersion (zone 1, 2) Ex p - Pressurization (zone 1, 2) Ex q - Powder Filling (zone 1, 2) Ex d - Flameproofing (Explosion Proof) (zone 1, 2) Ex e - Increased Safety (zone 1, 2) Ex ia - Intrinsic Safety (zone 0, 1, 2) Ex ib - Intrinsic Safety (zone 1, 2) Ex n - Non-Incedive (zone 1, 2) Ex m - Encapsulation (zone 1, 2) Ex s - Special Protection (zone 0, 1, 2)
Note on AF25: Temperature Category T1 - 450 oC T2 - 300 oC T2A - 280 oC T2B - 260 oC T2C - 230 oC T2D - 215 oC T3 - 200 oC T3A - 180 oC T3B - 165 oC T3C - 160 oC T4 - 135 oC T4A - 120 oC T5 - 100 oC T6 - 85 oC
Note on V26: Gas / Dust Groups IIC - Acetylene IIC - Hydrogen IIB - Ethylene IIA - Propane I - Methane
Note on AE26: Protection against solids ingress. 0 - No protection against live or moving parts. 1 - Protection against contact by large surfaces. 2 - Protection against contact by fingers. 3 - Protection against contact by tools, wires objects > 2.5mm. 4 - Protection against contact by tools, wires objects > 1.0mm. 5 - Complete protection against contact. Ingress of dust not in harmful quantities. 6 - Complete protection against contact. Protection against Ingress of dust. Protection against water ingress. 0 - No protection. 1 - Protection against drops of condensed water. 2 - Protection against liquid drops at 15o from vertical. 3 - Protection against liquid drops at 60o from vertical. 4 - Protection against spashing from any direction. 5 - Protection against water jets from any direction under stated conditions. 6 - Protection against heavy sea water under stated conditions. 7 - Protection against water immersion under stated conditions of pressure and time. 8 - Protection against indefinite immersion in water under specified pressure.

## Previous Data
TAG NO: |  |  | Hookup Drawings: |  |  | Loop Wiring Diagrams:
|  |  | Spec No: |  |  | Vessel Number:
Asset No: |  |  | P&ID: |  |  | Line ID: |  |  | Size: | Schedule:
Service Description: | [5 empty] | Manufacturer:
Model:
P.O. Number: |  |  |  |  | User 8:
REQ. Number: |  |  |  |  | User 9:
PROCESS CONDITIONS
| Area Classification: |  |  | Ambient Temperature Requirements: | [6 empty] | Units:
|  |  | Fluid 1 |  |  | Fluid 2 (for 4 way only)
Required Cv:
Fluid:
Max Temperature:
Max Pressure:
Operating Differential Pressure:
Max Differential Pressure:
Max Allowable Differential Pressure:
SG/Density/mol.wgt.:
Viscosity:
SOLENOID
| Type: | Coil: |  |  | Voltage: |  |  | Power Wiring:
| Pilot Operated: |  |  |  | Communication Protical: |  |  | Location:
| Mounting: |  |  |  | Electrical Protection: |  |  | Temperature Category:
| Body Size: |  |  |  | Gas Group: |  | Enclosure Protection IP Rating:
| Body Material: |  |  |  | Coil Insulation:
| Disc Material: |  |  |  | Main Valve Action when coil is Deenergized:
| Packing Style: |  |  |  | Manual Over-ride:
| Conduit Connection: |  |  |  | Manual Reset:
| Port Connections: |  |  |  | Manufacturer
| Seat Material: |  |  |  | Model No.
NOTES
ATEX REGISTER
| EC Type Examination Cert. |  |  |  | NOBO REF NUMBER
| EC Declaration of Conformity |  |  |  | User 1:
| Production QA Notification |  |  |  | User 2:
| Prod. QA Not. Validity Date |  |  |  | User 3:
User 4: |  |  |  |  | User 6:
User 5: |  |  |  |  | User 7:
Note on D23: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on L23: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on U23: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on AD23: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on F24: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on W24: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on AD24: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on W25: Protection Method EEx o - Oil Immersion (zone 1, 2) EEx p - Pressurization (zone 1, 2) EEx q - Powder Filling (zone 1, 2) EEx d - Flameproofing (Explosion Proof) (zone 1, 2) EEx e - Increased Safety (zone 1, 2) EEx ia - Intrinsic Safety (zone 0, 1, 2) EEx ib - Intrinsic Safety (zone 1, 2) EEx n - Non-Incedive (zone 1, 2) EEx m - Encapsulation (zone 1, 2) EEx s - Special Protection (zone 0, 1, 2)
Note on AF25: Temperature Category T1 - 450 oC T2 - 300 oC T2A - 280 oC T2B - 260 oC T2C - 230 oC T2D - 215 oC T3 - 200 oC T3A - 180 oC T3B - 165 oC T3C - 160 oC T4 - 135 oC T4A - 120 oC T5 - 100 oC T6 - 85 oC
Note on V26: Gas / Dust Groups IIC - Acetylene IIC - Hydrogen IIB - Ethylene IIA - Propane I - Methane
Note on AE26: Protection against solids ingress. 0 - No protection against live or moving parts. 1 - Protection against contact by large surfaces. 2 - Protection against contact by fingers. 3 - Protection against contact by tools, wires objects > 2.5mm. 4 - Protection against contact by tools, wires objects > 1.0mm. 5 - Complete protection against contact. Ingress of dust not in harmful quantities. 6 - Complete protection against contact. Protection against Ingress of dust. Protection against water ingress. 0 - No protection. 1 - Protection against drops of condensed water. 2 - Protection against liquid drops at 15o from vertical. 3 - Protection against liquid drops at 60o from vertical. 4 - Protection against spashing from any direction. 5 - Protection against water jets from any direction under stated conditions. 6 - Protection against heavy sea water under stated conditions. 7 - Protection against water immersion under stated conditions of pressure and time. 8 - Protection against indefinite immersion in water under specified pressure.
Type:
Power:
Communication / Gate Way:
Pilot Operated:
rev
rev
rev
rev
rev
rev

## Previous Revisions
Rev | Date | Status | By

## Field Definition Help
Field Color Definitions
Text Labels
Linked Database field - Care must be taken while entering Data into these fields. This will affect the Process and Equipment Information.
Linked Database Fields Data - Full data entry allowed
Linked Bentley Field for Revisions where there is a break between sections - Data entry not allowed (read only)
Linked Bentley Field for Revisions - Data entry not allowed (read only)
Unlinked DataBase Field - Not linked into Bentley Database
Linked Database Fields Data - Drop down menu item picks only
Unused areas
Section Groupings