## Sheet 1
1 | DATA | [24 empty] | 1 | DATA | [19 empty] | 1 | DATA
2 | TAG | [24 empty] | 2 | Terminations | [19 empty] | 2 | Electrical Performance (cont)
3 | Service: | [14 empty] | Main parts country of origin | [9 empty] | 3 | HV WINDING | [8 empty] | NEUTRAL | [10 empty] | 3 | X/R ratio: | [5 empty] | 1) | Load loss @ 75 °C with: |  |  |  | PF=1 |  | PF= 0.8
4 | Supplier: | [14 empty] | Frame: | [8 empty] | 1) | 4 | Busduct I x w: | [5 empty] | mm |  |  | Cable type: | [10 empty] | 4 | No load loss: |  |  | W |  |  | 1) |  | tap changer in max. position |  |  |  | W |  |  | W | 1)
5 | Applicable codes: | [14 empty] | Core: | [8 empty] | 1) | 5 | Cable type: | [8 empty] | Size: | [5 empty] | mm² |  |  |  |  | 5 | No load current: |  |  | A |  |  | 1) |  | tap changer in mid. position |  |  |  | W |  |  | W | 1)
6 | [15 empty] | Windings: | [8 empty] | 1) | 6 | Number / size: | [5 empty] | mm² |  |  | Overall diameter: | [5 empty] | mm |  |  |  |  | 6 | Inrush current: |  |  | A |  |  | 1) |  | tap changer in min. position |  |  |  | W |  |  | W | 1)
7 | Type / Catalogue No: | [13 empty] | 1) | Enclosure: | [8 empty] | 1) | 7 | Overall diameter: | [5 empty] | mm |  |  | Gland make & type: |  |  |  |  | Entry: | [5 empty] | 7 | Time to 1/2 peak current: |  |  | s |  |  | 1)
8 | Serial No: | [13 empty] | 1) | Local service organisation | [9 empty] | 8 | Gland make & type: |  |  |  | Entry: |  |  |  |  | MARSHALLING BOX | [10 empty] | 8 | [7 empty] | Efficiency @ 75 °C & |  |  | 100 % load |  | % |  |  | % | 1)
9 | Manufacturer: | [13 empty] | 1) | Name: | [8 empty] | 1) | 9 | LV WINDING | [8 empty] | Cable type: | [10 empty] | 9 | [10 empty] | 75 % load |  | % |  |  | % | 1)
10 | Place of manufacturer: | [13 empty] | 1) | Country: | [8 empty] | 1) | 10 | Busduct I x w: | [5 empty] | mm |  |  | Size: | [5 empty] | mm² |  |  |  |  | 10 | [10 empty] | 50 % load |  | % |  |  | % | 1)
11 | Service Conditions | [24 empty] | 11 | Cable type: | [8 empty] | Overall diameter: | [5 empty] | mm |  |  |  |  | 11
12 | Location: | [14 empty] | Area classification (IEC 60079-10): |  | Q | [7 empty] | 12 | Number / size: | [5 empty] | mm² |  |  | Gland make & type: |  |  |  |  | Entry: | [5 empty] | 12 | [7 empty] | Short circuit loss @ 75 °C |  |  |  |  | W |  |  | W | 1)
13 | [15 empty] | Gas group: | [9 empty] | 13 | Overall diameter: | [5 empty] | mm |  |  | FAN CONTROL | [10 empty] | 13 | [7 empty] | Short circuit current |  |  |  |  | A |  |  | A | 1)
14 | Ambient air temperature: |  |  |  | Min: |  |  | °C |  | Max: |  |  | °C |  |  | Temperature class: | [9 empty] | 14 | Gland make & type: |  |  |  | Entry: |  |  |  |  | Cable type: | [10 empty] | 14 | [9 empty] | duration |  |  | s |  |  | s | 1)
15 | Relative humidity: |  |  |  | Max: |  |  | % | [7 empty] | Certificate number: | [8 empty] | 1) | 15 | [9 empty] | Size: | [5 empty] | mm² |  |  |  |  | 15
16 | Direct sunlight: | [24 empty] | 16 | External earthing connection: | [5 empty] | mm² |  |  | Overall diameter: | [5 empty] | mm |  |  |  |  | 16 | Construction Data
17 | Power System Data | [24 empty] | 17 | [9 empty] | Gland make & type: |  |  |  |  | Entry: | [5 empty] | 17 | Winding type: | [5 empty] | 1) | Dimensions ( w x d x h): | [5 empty] | mm |  |  | 1)
18 | System voltage: |  |  | Unom = |  |  |  | V | Phases #: | [6 empty] | Voltage variation: |  | + |  |  | % | to | - |  | % | 18 | Current Transformers | [19 empty] | 18 | Insulating medium: | [5 empty] | 1) | Enclosure material: | [8 empty] | 1)
19 |  |  |  | Freq. = |  |  |  | Hz | [7 empty] | Frequency variation: |  | + |  |  | % | to | - |  | % | 19 | Neutral CT: | [8 empty] | Differential protect.LV side: | [10 empty] | 19 | Heat dissipated to room: |  |  | kW |  |  | 1) | Lifting eyes: | [8 empty] | 1)
20 | System short circuit capacity: |  |  |  |  | Min: |  |  | MVA |  | Max: |  |  |  |  | Combined voltage & freq. var.: |  | + |  |  | % | to | - |  | % | 20 | Ratio: | [5 empty] | A |  |  | Ratio: | [5 empty] | A |  |  |  |  | 20 | Mass: |  |  | kg |  |  | 1)
21 | Earthing: | [14 empty] | Transient frequency variation max: |  |  | +/- 10%, recovery time 5 s | [6 empty] | 21 | Rating: | [5 empty] | VA |  |  | Rating: | [5 empty] | VA |  |  |  |  | 21 | Tap Changer
22 | Basic Performance | [24 empty] | 22 | Class: | [8 empty] | Class: | [10 empty] | 22 | Make: | [5 empty] | 1)
23 | Minimum required output rating: | [9 empty] | kVA |  |  |  |  | Resistance value: | [7 empty] | Ohm |  | 23 | Differential protect. HV side: | [19 empty] | 23 | Type: | [5 empty] | 1)
24 | Type of cooling: | [14 empty] | Parallel operation required: | [9 empty] | 24 | Ratio: | [5 empty] | A | [13 empty] | 24 | Fans and Control
25 | Rated voltage HV winding: | [9 empty] | kV |  |  |  |  | Enclosure prot.(IEC 60529): |  |  |  | casing: | [5 empty] | 25 | Rating: | [5 empty] | VA | [13 empty] | 25 | Fan make: | [5 empty] | 1) | Control unit make: | [8 empty] | 1)
26 | Rated voltage LV winding: | [9 empty] | kV | [8 empty] | terminal boxes: | [5 empty] | 26 | Class: | [19 empty] | 26 | Type: | [5 empty] | 1) | Type: | [8 empty] | 1)
27 | Connection: | [14 empty] | Explosion protection (IEC 60079): | [9 empty] | 27 | Condition Monitoring | [19 empty] | 27 | Number of fans: | [5 empty] | 1)
28 | Short circuit impedance: | [9 empty] | % |  |  |  |  | Insulation thermal class (IEC 60085): | [9 empty] | 28 | Winding discharge monitoring: | [19 empty] | 28 | Reliability Data
29 | Insulation level: | [9 empty] | kV |  |  |  |  | Temperature rise class (Resist. Method): | [9 empty] | 29 | [20 empty] | 29 | Predicted lifetime: |  |  |  | years |  | 1) | Number of failures per year | [5 empty] | A: |  |  | 1)
30 | Impulse level: | [9 empty] | kV |  |  |  |  | Noise at 1 metre (max 77 dB(A)): | [8 empty] | 1) | 30 | Tests | [19 empty] | 30 | Availability: | [5 empty] | 1) | Mean time to repair: | [5 empty] | hours |  |  | 1)
31 | System earthing HV winding: | [14 empty] | Top coat color: | [9 empty] | 31 | Routine test: | [8 empty] | Special test: | [10 empty] | 31 | Reliability: | [5 empty] | 1)
32 | System earthing LV winding: | [24 empty] | 32 | Type test: | [19 empty] | 32 | Related Drawings
33 |  |  |  |  | Type: | [20 empty] | 33 | Noise test: | [8 empty] | Final testing shall be complete with all controlgear | [10 empty] | 33 | Outline drawing number: | [5 empty] | 1) | Connection diagram number: | [8 empty] | 1)
34 | [25 empty] | 34 | Special Requirements | [19 empty] | 34 | Schematic diagram number: | [5 empty] | 1)
35 | Tappings | [24 empty] | 35 | Required on receipt of order | [19 empty] | 35 | Related Datasheets
36 | Taps required: | [14 empty] | Tap changer type: | [9 empty] | 36 | Thermal endurance graphs: | [19 empty] | 36
37 | Tapping range: |  |  |  |  | + |  |  | % | to | - |  |  | % |  | Tap changer location: |  |  |  |  | Primary winding |  |  |  |  | 37 | showing insulation life versus temperature in the range including classes B & F, such results shall be based on | [19 empty] | 37
38 | Number of tapping positions: | [24 empty] | 38 | actual coils employing the manufacturer's insulation system. | [19 empty] | 38 | Deviations from Datasheet
39 | Accessories | [24 empty] | 39 | [20 empty] | 39
40 | Fans and control equipment: | [14 empty] | Winding temperature detectors: | [9 empty] | 40 | Required at testing | [19 empty] | 40
41 | Provision for future cooling: | [14 empty] | Detector type: | [9 empty] | 41 | Electromagnetic compatibility restrictions: | [19 empty] | 41
42 | [25 empty] | 42 | Electrical Performance | [19 empty] | 42
43 | AUXILIARY POWER SUPPLIES | [14 empty] | Number per phase: | [9 empty] | 43 | AF Rated power (@ site conditions): | [5 empty] | kVA |  | 1) | Nominal impedance voltage @ 75 °C and tap | [10 empty] | 43
44 | Fan control system: | [9 empty] | V |  |  |  |  | Surge capacitors: | [9 empty] | 44 | AN Rated power (@ site conditions): | [5 empty] | kVA |  | 1) | changer in mid position: |  |  |  | % | [5 empty] | 1) | 44
45 | [10 empty] | ph |  |  |  |  | Lightning arresters: | [9 empty] | 45 | [9 empty] | Impedance variation @ +5% tap: |  |  |  | % nominal impedance | [5 empty] | 1) | 45
46 | [15 empty] | Anti-condensation heaters: | [9 empty] | 46 | AF rated current: |  |  | HV: |  |  |  | A | 1) | Impedance variation @ -5% tap: |  |  |  | % nominal impedance | [5 empty] | 1) | 46
47 | [15 empty] | Padlock facilities | [9 empty] | 47 |  |  |  | LV: |  |  |  | A | 1) | Impedance tolerance: | + | % | to | - |  |  | % |  |  | 1) | 47
48 | [25 empty] | 48 | AN rated current: |  |  | HV: |  |  |  | A | 1) | Positive sequence impedance: |  |  |  | % | [5 empty] | 1) | 48
49 | [25 empty] | 49 |  |  |  | LV: |  |  |  | A | 1) | Negative sequence impedance: |  |  |  | % | [5 empty] | 1) | 49
50 | [25 empty] | 50 | [9 empty] | Zero sequence impedance: |  |  |  | % | [5 empty] | 1) | 50
1) Seller to complete. All other data to be completed by the buyer and any deviations to be noted by the seller. | [25 empty] | 1) Seller to complete. All other data to be completed by the buyer and any deviations to be noted by the seller. | [20 empty] | 1) Seller to complete. All other data to be completed by the buyer and any deviations to be noted by the seller.
CLIENT: | [25 empty] | CLIENT: |  |  | 0 | [17 empty] | CLIENT: |  |  | 0
PROJECT NO: | [25 empty] | PROJECT NO: |  |  | 0 | [17 empty] | PROJECT NO: |  |  | 0
LOCATION: | [25 empty] | LOCATION: |  |  | 0 | [17 empty] | LOCATION: |  |  | 0
REQUISITION NO: | [25 empty] | REQUISITION NO: |  |  | 0 |  |  | 0 |  | 0 | 0 | [6 empty] | 0 |  | 0 | 0 |  | REQUISITION NO: |  |  | 0 | 0 |  | 0 | 0 | [5 empty] | 0 |  | 0 | 0
[10 empty] | REV |  | DATE |  |  | DESCRIPTION | [5 empty] | BY |  | CHK | APP | [7 empty] | REV |  | DATE | DESCRIPTION | [6 empty] | BY |  | CHK | APP | [5 empty] | REV |  | DATE | DESCRIPTION | [5 empty] | BY |  | CHK | APP
[10 empty] | DATASHEET | [21 empty] | DATASHEET | [18 empty] | DATASHEET
[10 empty] | DRY-TYPE POWER TRANSFORMER | [21 empty] | DRY-TYPE POWER TRANSFORMER | [18 empty] | DRY-TYPE POWER TRANSFORMER
DOC NO: |  | BWS-E-400-SH-0014 | [7 empty] | REV: |  | A |  |  | EQUIP NO: |  |  |  | SHEET 1 OF 3 | [6 empty] | DOC NO: |  | BWS-E-400-SH-0014 |  |  |  | REV: |  | A | EQUIP NO: |  |  |  |  | SHEET 2 OF 3 | [6 empty] | DOC NO: |  | BWS-E-400-SH-0014 |  | REV: |  | A | EQUIP NO: |  |  |  |  | SHEET 3 OF 3
|  |  | Onshore | Indoor |  |  | Yes |  |  | TN |  |  | AF |  |  | Isolated | Transformer | Thermistor |  |  |  |  | Side |  | Witnessed | Primary winding
|  |  | Offshore | Outdoor |  |  | No |  |  | TT |  |  | AN |  |  | Solid | Resistance | PT100 |  |  |  |  | Bottom |  | Unwitnessed | Secondary winding
[10 empty] | IT | [6 empty] | Reactor