## L1 Current Data
TAG NO: | [9 empty] | Hookup Drawing No: | [9 empty] | Loop Wiring Diagrams: | [10 empty] | Equip No: | [15 empty] | CC-SPM-FOJB-1005-01
[10 empty] | Spec No: | [9 empty] | Vessel Number: | [11 empty] | TRANSMITTER: | [14 empty] | CC-SPM-FOJB-1010A-01
Asset No: | [9 empty] | P&ID: | [9 empty] | Line ID: | [5 empty] | Size: |  | Schedule: | [18 empty] | CC-SPM-FOJB-1010B-01
Service Description: | [19 empty] | Manufacturer: |  |  | VEGA | [8 empty] | POWER: |  | POWER: |  |  |  | ELECTRICAL PROTECTION: |  | GAS GROUP: | TEMPERATURE CATEGORY: |  | ENCLOSURE PROTECTION: |  | LOCATION: | RELAY Type: | CC-SPM-FOJB-7510A-01
[20 empty] | Model: |  | VEGAFLEX | [9 empty] | 24 VDC |  | LOOP |  | 4 - 20 mA | ISOLATED | Ex o |  | IIC | T1 |  | 0 | 0 | REMOTE | NONE | CC-SPM-FOJB-7510B-01
P.O. Number: | [15 empty] | User 1: | [15 empty] | ~110 VAC 50/60 Hz |  | EXTERNAL |  | 0 - 5 VDC | SMART | Ex p |  | IIC | T2 |  | 1 | 1 | INTEGRAL | N/C | CC-SPM-FOJB-7710A-02
REQ. Number: | [15 empty] | User 2: | [15 empty] | ~220 VAC 50/60 Hz |  | N/A |  | PULSE | HART | Ex q |  | IIB | T2A |  | 2 | 2 | N/A | N/O | CC-SPM-FOJB-7710B-01
PROCESS CONDITIONS | [31 empty] | N/A |  | SEE NOTES |  | 3 - 15 PSIG | SERIAL | Ex d |  | IIA | T2B |  | 3 | 3 | SEE NOTES | N/A | CC-SPM-IJB-7510A-01
| Lower Fluid | [15 empty] | Upper Fluid | [12 empty] | Units |  | SEE NOTES |  |  |  | N/A | INDICATE | Ex e |  | I | T2C |  | 4 | 4 |  | SEE NOTES | CC-SPM-IJB-7510B-01
| Fluid: | [15 empty] | Fluid: | [18 empty] | SEE NOTES | N/A | Ex ia |  | N/A | T2D |  | 5 | 5 |  |  | CC-SPM-IJB-7710A-02
| Density @ Operating Temperature: | [15 empty] | Density @ Operating Temperature: | [12 empty] | kg/m3 | [6 empty] | SEE NOTES | Ex ib |  | SEE NOTES | T3 |  | 6 | 6 |  | Switch Type: | CC-SPM-IJB-7710B-01
| Viscosity @ Operating Temperature: | [15 empty] | Viscosity @ Operating Temperature: | [12 empty] | cP | [7 empty] | Ex n |  |  | T3A |  | N/A | 7 |  |  | CC-SPM-LCP-7501-01
| % solids: | [6 empty] | Dielectric Constant: | [8 empty] | % solids: | [5 empty] | Dielectric Constant: | [14 empty] | Ex m |  |  | T3B |  | SEE NOTES | 8 |  | SPDT | CC-SPM-LCP-7701-01
| Service: | [8 empty] | Critical: | [6 empty] | Service: | [6 empty] | Critical: | [13 empty] | Ex s |  |  | T3C |  |  | N/A |  | DPDT | CC-SPM-SW-7101-03
| Temperature Min: | [12 empty] | Normal: | [7 empty] | Max: | [7 empty] | °C | [7 empty] | N/A |  |  | T4 |  |  | SEE NOTES |  | N/A | CC-SPM-SW-7101-06
| Pressure Min: | [12 empty] | Normal: | [7 empty] | Max: | [7 empty] | barg | [7 empty] | See Notes |  |  | T4A |  |  |  |  | See Notes | CC-SPM-SW-7101-07
| Area Classification: | [13 empty] | Ambient Temperature Requirements: | [25 empty] | T5 |  | ENCLOSURE PROTECTION: |  |  |  | IC-SPM-ELD-7104-01
[41 empty] | T6 |  | IP20 |  |  |  | IC-SPM-ELD-7108-01
BODY / CAGE | [15 empty] | TRANSMITTER | [24 empty] | N/A |  | IP40 |  |  |  | IC-SPM-ELV-7103-01
| Cage Type: |  |  |  | Dual Chamber Magnetic Level Indicator | [11 empty] | Voltage: |  |  | 24 VDC |  |  |  |  | SIL |  |  | SIL 3 | [12 empty] | SEE NOTES |  | IP54 |  |  |  | IC-SPM-ELV-7103-02
| Upper Connection Size: | [5 empty] | 2" |  |  | Type: |  | 300# RF (ASME B16.5) |  |  |  |  | Power Wiring: |  |  | LOOP |  |  |  |  | Signal Type: |  |  | 4 - 20 mA | [14 empty] | IP56 |  |  |  | IC-SPM-FIT-6640-01
| Lower Connection Size: | [5 empty] | 2" |  |  | Type: |  | 300# RF (ASME B16.5) |  |  |  |  | Communication Protocol: |  |  |  |  | HART |  |  | Location: |  |  | SEE NOTES | [14 empty] | IP65 |  |  |  | IC-SPM-FOJB-7710A-01
| Body / Cage Material: |  |  |  |  | AISI 316L |  |  |  | Rating: |  | 300 # |  |  |  |  | Smart: |  | YES |  |  | Indicate: |  | YES |  |  | Isolate: |  | NO |  |  |  | GENERAL |  | Process Conditions |  |  | General | Body/Cage |  |  | Element | IP66 |  |  |  | IC-SPM-HPU-9401-HS02A
| Rotatable Head: |  |  |  | N/A |  |  |  | Orientation: |  |  | HOLD |  |  |  |  | Electrical Protection: |  |  |  |  | Ex d |  | Temperature Category: |  |  |  |  | T3 | [13 empty] | IP67 |  |  |  | IC-SPM-HPU-9401-HS02B
| Drain Valve: |  |  | 3/4" 300#RF |  |  |  |  | Vent Valve: |  |  | 3/4" 300#RF |  |  |  |  | Gas Group: |  |  | IIA |  | Enclosure Protection IP Rating: | [5 empty] | IP66 |  |  |  |  | YES/NO |  | Service: |  |  | Yes/No | Cage Mounting: |  |  | Type: | IP68 |  |  |  | IC-SPM-HPU-9401-HS03A
| Cage Length: |  |  | HOLD |  |  |  |  | Diameter: |  |  | O.D. 60.3 mm |  |  |  |  | Factory Calibration: |  |  |  |  | Yes | [10 empty] | YES |  | Clean |  |  | Yes | Configuration #1 |  |  | Displacer | See Notes |  |  |  | IC-SPM-HPU-9401-HS03B
| Nozzle Extension Length: | [5 empty] | 200 mm SEE NOTE | [9 empty] | Accuracy: |  |  |  |  | +/- 2 mm | [10 empty] | NO |  | Dirty |  |  | No | Configuration #2 |  |  | Float |  |  |  |  | IC-SPM-HPU-9401-LIT01
| Span Between Nozzles: | [5 empty] | HOLD | [9 empty] | Sensor Connection: |  |  |  |  | Exchangeable type | [10 empty] | N/A |  | Corrosive |  |  | N/A | Configuration #3 |  |  | Magnetostrictive |  |  |  |  | IC-SPM-HPU-9401-LIT02
| Cooling Extension: |  |  |  | N/A | [11 empty] | Gland Connection: |  |  |  |  | M20x1.5 | [10 empty] | SEE NOTES |  | N/A |  |  | See Notes | Other |  |  | Radar |  |  |  |  | IC-SPM-HPU-9401-PB01
| Cage Mounting: | [15 empty] | Body Material: |  |  |  |  | AISI 316L | [12 empty] | See Notes |  |  |  | N/A |  |  | Reed Switch |  |  |  |  | IC-SPM-HPU-9401-PIT01
| Configuration #2 | [15 empty] | Calibrated Range: |  |  |  | HOLD |  |  |  | Full Range: |  |  | HOLD | [10 empty] | See Notes |  |  | N/A |  |  |  |  | IC-SPM-HPU-9401-PIT02
[17 empty] | Gasket Material: |  |  |  | SS 316L/Graphite |  |  |  | SS Tag: |  | Yes | [14 empty] | See Notes |  |  |  |  | IC-SPM-HPU-9401-SV01
[5 empty] | Configuration #1 |  |  |  | Configuration #2 |  |  |  | Configuration #3 |  |  |  | Connection 1: | [7 empty] | Connection 2:: | [21 empty] | IC-SPM-HPU-9401-SV02
IC-SPM-HPU-9401-SV03
[16 empty] | SWITCHES | [30 empty] | IC-SPM-HPU-9401-TIT03
ELEMENT | [16 empty] | RELAY 1 | Tag No: |  | N/A | [26 empty] | IC-SPM-HS-3501A-01
| Type: |  | TDR, Guided Wave Rada |  |  |  |  | Gauge: | [9 empty] | Power Rating: | [5 empty] | Type: | [22 empty] | IC-SPM-HS-3501B-01
| Gauge Material: |  |  |  | AISI 316L |  |  | Gauge Dimensions: |  |  |  | HOLD | [5 empty] | Alarm Setting | [28 empty] | IC-SPM-HS-6601A-01
| Insertion Depth: |  |  |  | HOLD | [11 empty] | RELAY 2 | Tag No: | [28 empty] | IC-SPM-HS-6601B-01
| Process Connection: | [5 empty] | 2" 300# RF, ASME B16.5 | [10 empty] | Power Rating: | [5 empty] | Type: | [22 empty] | IC-SPM-HS-6602A-01
| Transmitter Connection: | [5 empty] | CLOSE COUPLED | [10 empty] | Alarm Setting | [28 empty] | IC-SPM-HS-6602B-01
| Element Dimension: |  |  |  | NOTE 3 | [11 empty] | Contact Rating: | [29 empty] | IC-SPM-IJB-3510-01
| Element Material: |  |  |  | AISI 316L | [11 empty] | Gland Connection: | [29 empty] | IC-SPM-IJB-3520-01
| Radar Frequency: |  |  |  | 1 - 2 GHz | [11 empty] | Manufacturer: | [29 empty] | IC-SPM-IJB-6610-01
| Displacer Extension: |  |  |  |  | N/A | [10 empty] | Model No. | [29 empty] | IC-SPM-IJB-6620-01
| Displacer Spring / Tube Material: | [6 empty] | N/A | [8 empty] | Electrical Protection: | [6 empty] | Temperature Category: | [22 empty] | IC-SPM-IJB-6640-01
| Float Well Clearance: | [7 empty] | Float Shaft Clearance: |  |  |  |  | N/A |  |  | Gas Group: |  |  |  |  | Enclosure Protection IP1: | [5 empty] | IP2: | [18 empty] | IC-SPM-IJB-6650-01
IC-SPM-IJB-7505-01
NOTES | [46 empty] | IC-SPM-IJB-7505-02
| 1) Vendor To Advise | [45 empty] | IC-SPM-IJB-7505-03
| 2) Nozzle extension length = 150 mm from center point of cage up to nozzle flange face. | [45 empty] | IC-SPM-IJB-7507-01
| 3) Electrical equipment shall be certified for zone 1 in accordance with the applicable PRC Regulations | [45 empty] | IC-SPM-IJB-7507-02
IC-SPM-IJB-7507-03
IC-SPM-IJB-7507-04
IC-SPM-IJB-7507-05
| CERTIFICATATION | [45 empty] | IC-SPM-IJB-7705-01
| IECEx Test Report (IECExTR) | [10 empty] | Yes (HOLD see note 3) |  |  |  | APPROVEL | [5 empty] | ABS, CCC (HOLD), IECEx | [24 empty] | IC-SPM-IJB-7707-01
| IECEx Quality Assessment Report (IECExQAR) | [10 empty] | Yes (HOLD see note 3) | [34 empty] | IC-SPM-IJB-7710A-01
| IECEx Certificate of Conformity | [10 empty] | Yes (HOLD see note 3) | [34 empty] | IC-SPM-IJB-9101-01
IC-SPM-IJB-9410-01
IC-SPM-IJB-9420-01
[17 empty] | INSTRUMENT SPECIFICATION | [29 empty] | IC-SPM-LD-7102-01
[17 empty] | Level Instrument | [29 empty] | IC-SPM-LD-7102-02
IC-SPM-LD-7107-01
IC-SPM-LD-7107-02
[17 empty] | Project : |  |  | LUF |  |  |  |  | Sheet | [21 empty] | IC-SPM-LIT-3521-01
A |  | HELE |  | FMUL |  | AM |  | 10/1/2021 |  |  | Initial Issue | [5 empty] | Project No.: |  |  | 1-2021-0 |  |  |  |  | BES Dwg: | [21 empty] | IC-SPM-LIT-3522-01
REV |  | By |  | Chk |  | App |  | Date |  |  | Revision Description | [5 empty] | Form No. DS_BES_LIT | [7 empty] | Client Dwg | [21 empty] | IC-SPM-LIT-6621-01
Y:\1_PROJS\1-2021-1\Engineering - ElecInstr\Instrumentation\EDB\Datasheets\[DS_BES_LIT.xlsx]L1 Current Data | [24 empty] | 2021-11-30 11:58 | [21 empty] | IC-SPM-LIT-6622-01
IC-SPM-LIT-6651-01
IC-SPM-LV-7101-01
IC-SPM-LV-7101-02
IC-SPM-PB-3501-01
IC-SPM-PB-6601-01
IC-SPM-PB-6602-01
IC-SPM-PIT-9111-01
IC-SPM-PIT-9112-01
IC-SPM-SDY-9101-01
IC-SPM-SV-3501A-01
IC-SPM-SV-3501B-01
IC-SPM-SV-6601A-01
IC-SPM-SV-6601B-01
IC-SPM-SV-6602A-01
IC-SPM-SV-6602B-01
IC-SPM-SW-7101-01
IC-SPM-SW-7101-02
IC-SPM-SW-7101-03
IC-SPM-SW-7101-04
IC-SPM-SW-7101-05
IC-SPM-SW-7110-01
IC-SPM-SW-7110-02
IC-SPM-TIT-3505-01
IC-SPM-TIT-6603-01
IC-SPM-TIT-6604-01
IC-SPM-TIT-6605-01
IC-SPM-TIT-6606-01
IC-SPM-TIT-9121-01
IC-SPM-UPS-7105-01
IC-SPM-UPS-7106-01
IC-SPM-UPS-7106-02
IC-SPM-XI-9105-01
IC-SPM-XI-9160-01
rev
rev
Note on V21: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on V22: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on AE22: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on X23: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on AE23: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on U24: Please SELECT one of the item's on the list or leave BLANK!
Note on AA24: Please SELECT one of the item's on the list or leave BLANK!
Note on AF24: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on X25: Protection Method Ex o - Oil Immersion (zone 1, 2) Ex p - Pressurization (zone 1, 2) Ex q - Powder Filling (zone 1, 2) Ex d - Flameproofing (Explosion Proof) (zone 1, 2) Ex e - Increased Safety (zone 1, 2) Ex ia - Intrinsic Safety (zone 0, 1, 2) Ex ib - Intrinsic Safety (zone 1, 2) Ex n - Non-Incedive (zone 1, 2) Ex m - Encapsulation (zone 1, 2) Ex s - Special Protection (zone 0, 1, 2)
Note on AF25: Temperature Category T1 - 450 oC T2 - 300 oC T2A - 280 oC T2B - 260 oC T2C - 230 oC T2D - 215 oC T3 - 200 oC T3A - 180 oC T3B - 165 oC T3C - 160 oC T4 - 135 oC T4A - 120 oC T5 - 100 oC T6 - 85 oC
Note on V26: Gas / Dust Groups IIC - Acetylene IIC - Hydrogen IIB - Ethylene IIA - Propane I - Methane
Note on AE26: Protection against solids ingress. 0 - No protection against live or moving parts. 1 - Protection against contact by large surfaces. 2 - Protection against contact by fingers. 3 - Protection against contact by tools, wires objects > 2.5mm. 4 - Protection against contact by tools, wires objects > 1.0mm. 5 - Complete protection against contact. Ingress of dust not in harmful quantities. 6 - Complete protection against contact. Protection against Ingress of dust. Protection against water ingress. 0 - No protection. 1 - Protection against drops of condensed water. 2 - Protection against liquid drops at 15o from vertical. 3 - Protection against liquid drops at 60o from vertical. 4 - Protection against spashing from any direction. 5 - Protection against water jets from any direction under stated conditions. 6 - Protection against heavy sea water under stated conditions. 7 - Protection against water immersion under stated conditions of pressure and time. 8 - Protection against indefinite immersion in water under specified pressure.
Note on B32: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on W38: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on AC38: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on W41: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on AC41: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on X47: Protection Method EX o - Oil Immersion (zone 1, 2) EX p - Pressurization (zone 1, 2) EX q - Powder Filling (zone 1, 2) EX d - Flameproofing (Explosion Proof) (zone 1, 2) EX e - Increased Safety (zone 1, 2) EX ia - Intrinsic Safety (zone 0, 1, 2) EX ib - Intrinsic Safety (zone 1, 2) EX n - Non-Incedive (zone 1, 2) EX m - Encapsulation (zone 1, 2) EX s - Special Protection (zone 0, 1, 2)
Note on AF47: Temperature Category T1 - 450 oC T2 - 300 oC T2A - 280 oC T2B - 260 oC T2C - 230 oC T2D - 215 oC T3 - 200 oC T3A - 180 oC T3B - 165 oC T3C - 160 oC T4 - 135 oC T4A - 120 oC T5 - 100 oC T6 - 85 oC
Note on V48: Gas / Dust Groups IIC - Acetylene IIC - Hydrogen IIB - Ethylene IIA - Propane I - Methane
Note on AC48: Protection against solids ingress. 0 - No protection against live or moving parts. 1 - Protection against contact by large surfaces. 2 - Protection against contact by fingers. 3 - Protection against contact by tools, wires objects > 2.5mm. 4 - Protection against contact by tools, wires objects > 1.0mm. 5 - Complete protection against contact. Ingress of dust not in harmful quantities. 6 - Complete protection against contact. Protection against Ingress of dust.
Note on AG48: Protection against water ingress. 0 - No protection. 1 - Protection against drops of condensed water. 2 - Protection against liquid drops at 15o from vertical. 3 - Protection against liquid drops at 60o from vertical. 4 - Protection against spashing from any direction. 5 - Protection against water jets from any direction under stated conditions. 6 - Protection against heavy sea water under stated conditions. 7 - Protection against water immersion under stated conditions of pressure and time. 8 - Protection against indefinite immersion in water under specified pressure.

## Previous Data
TAG NO: |  |  |  |  | Hookup Drawing No: | [6 empty] | Loop Number:
[5 empty] | Spec: | [6 empty] | Vessel Number:
Asset No: |  |  |  |  | P&ID:
Service Description: | [11 empty] | Manufacturer:
Model:
P.O. Number | [8 empty] | User 4:
REQ. Number: | [8 empty] | User 5:
PROCESS CONDITIONS
| Lower Fluid | [8 empty] | Upper Fluid | [8 empty] | Units
| Fluid: | [8 empty] | Fluid:
| Density @ Operating Temperature: | [8 empty] | Density @ Operating Temperature:
| Viscosity @ Operating Temperature: | [8 empty] | Viscosity @ Operating Temperature:
| % solids: |  | Dialectric Constant: | [6 empty] | % solids: |  |  |  | Dialectric Constant:
| Service: |  |  |  | Critical: |  |  |  |  | Service: |  |  |  |  | Critical:
| Temperature Min: | [5 empty] | Normal: | [5 empty] | Max:
| Pressure Min: | [5 empty] | Normal: | [5 empty] | Max:
| Area Classification: | [6 empty] | Ambient Temperature Requirements:
BODY / CAGE | [8 empty] | TRANSMITTER
| Cage Type: | [8 empty] | Voltage:
| Upper Connection Size: |  |  |  | Type: |  |  |  |  | Power Wiring: | [5 empty] | Signal Type:
| Lower Connection Size: |  |  |  | Type: |  |  |  |  | Communication Protocal: | [5 empty] | Location:
| Body / Cage Material: |  |  |  | Rating: |  |  |  |  | Smart: |  |  | Indicate: |  |  |  | Isolate:
| Rotatable Head: |  |  | Orientation: | [5 empty] | Electrical Protection: |  |  |  |  | Temperature Category:
| Drain Valve: |  |  | Vent Valve: | [5 empty] | Gas Group: |  |  | Enclosure Protection IP Rating:
| Cage Length: |  |  | Diameter: | [5 empty] | Factory Calibration:
| Nozzle Extension Length: | [8 empty] | Accuracy:
| Span Between Nozzles: | [8 empty] | Sensor Connection:
| Cooling Extension: | [8 empty] | Gland Connection:
| Cage Mounting: | [8 empty] | Body Material:
[10 empty] | Calibrated Range: | [5 empty] | Full Range:
[10 empty] | Gasket Material: | [5 empty] | SS Tag:
|  | Configuration #1 |  | Configuration #2 |  | Configuration #3
SWITCHES
ELEMENT | [9 empty] | RELAY 1 | Tag No:
| Type: |  | Gauge: | [7 empty] | Power Rating: |  |  |  | Type:
| Gauge Material: |  | Gauge Dimensions: | [7 empty] | Alarm Setting
| Insertion Depth: | [8 empty] | RELAY 2 | Tag No:
| Process Connection: | [9 empty] | Power Rating: |  |  |  | Type:
| Transmitter Connection: | [9 empty] | Alarm Setting
| Element Dimension: | [8 empty] | Contact Rating:
| Element Material: | [8 empty] | Gland Connection:
| Radar Frequency: | [8 empty] | Manufacturer:
| Displacer Extension: | [8 empty] | Model No.
| Displacer Spring / Tube Material: | [8 empty] | Electrical Protection: |  |  |  |  | Temperature Category:
| Float Well Clearance: |  |  | Float Shaft Clearance: | [5 empty] | Gas Group: |  |  | Enclosure Protection IP1: |  |  |  |  | IP2:
NOTES
ATEX REGISTER
| EC Type Examination Cert. | [7 empty] | NOBO REF NUMBER
| EC Declaration of Conformity | [7 empty] | User 1: |  |  |  | ::User1::User 1
| Production QA Notification | [7 empty] | User 2: |  |  |  | ::User2::User 2
| Prod. QA Not. Validity Date | [7 empty] | User 3: |  |  |  | ::User3::User 3
Power:
Output/Communication:
Factory Calibration:
Cage Mounting:
Service:
Location:
Relay 1:
Relay 2:
Type:
Electrical Protection:
Gas Group:
Temperature Catagory:
Enclosure Protection:
Service:
Solenoid & Switches
Electric Valve Actuator
Notes
Solenoid
Electric Valve Actuator
Switches
Solenoid & Switches
Electric Valve Actuator
Electric Valve Actuator
Solenoid & Switches
Electric Valve Actuator
Notes
Solenoid
Electric Valve Actuator
Switches
Solenoid & Switches
Electric Valve Actuator
Notes
Solenoid
Electric Valve Actuator
Switches
rev
rev
rev
rev
Note on V21: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on V22: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on AE22: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on X23: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on AE23: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on U24: Please SELECT one of the item's on the list or leave BLANK!
Note on AA24: Please SELECT one of the item's on the list or leave BLANK!
Note on AF24: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on X25: Protection Method EEx o - Oil Immersion (zone 1, 2) EEx p - Pressurization (zone 1, 2) EEx q - Powder Filling (zone 1, 2) EEx d - Flameproofing (Explosion Proof) (zone 1, 2) EEx e - Increased Safety (zone 1, 2) EEx ia - Intrinsic Safety (zone 0, 1, 2) EEx ib - Intrinsic Safety (zone 1, 2) EEx n - Non-Incedive (zone 1, 2) EEx m - Encapsulation (zone 1, 2) EEx s - Special Protection (zone 0, 1, 2)
Note on AF25: Temperature Category T1 - 450 oC T2 - 300 oC T2A - 280 oC T2B - 260 oC T2C - 230 oC T2D - 215 oC T3 - 200 oC T3A - 180 oC T3B - 165 oC T3C - 160 oC T4 - 135 oC T4A - 120 oC T5 - 100 oC T6 - 85 oC
Note on V26: Gas / Dust Groups IIC - Acetylene IIC - Hydrogen IIB - Ethylene IIA - Propane I - Methane
Note on AE26: Protection against solids ingress. 0 - No protection against live or moving parts. 1 - Protection against contact by large surfaces. 2 - Protection against contact by fingers. 3 - Protection against contact by tools, wires objects > 2.5mm. 4 - Protection against contact by tools, wires objects > 1.0mm. 5 - Complete protection against contact. Ingress of dust not in harmful quantities. 6 - Complete protection against contact. Protection against Ingress of dust. Protection against water ingress. 0 - No protection. 1 - Protection against drops of condensed water. 2 - Protection against liquid drops at 15o from vertical. 3 - Protection against liquid drops at 60o from vertical. 4 - Protection against spashing from any direction. 5 - Protection against water jets from any direction under stated conditions. 6 - Protection against heavy sea water under stated conditions. 7 - Protection against water immersion under stated conditions of pressure and time. 8 - Protection against indefinite immersion in water under specified pressure.
Note on B32: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on W37: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on AC37: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on W40: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on AC40: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on X46: Protection Method EX o - Oil Immersion (zone 1, 2) EX p - Pressurization (zone 1, 2) EX q - Powder Filling (zone 1, 2) EX d - Flameproofing (Explosion Proof) (zone 1, 2) EX e - Increased Safety (zone 1, 2) EX ia - Intrinsic Safety (zone 0, 1, 2) EX ib - Intrinsic Safety (zone 1, 2) EX n - Non-Incedive (zone 1, 2) EX m - Encapsulation (zone 1, 2) EX s - Special Protection (zone 0, 1, 2)
Note on AF46: Temperature Category T1 - 450 oC T2 - 300 oC T2A - 280 oC T2B - 260 oC T2C - 230 oC T2D - 215 oC T3 - 200 oC T3A - 180 oC T3B - 165 oC T3C - 160 oC T4 - 135 oC T4A - 120 oC T5 - 100 oC T6 - 85 oC
Note on V47: Gas / Dust Groups IIC - Acetylene IIC - Hydrogen IIB - Ethylene IIA - Propane I - Methane
Note on AC47: Protection against solids ingress. 0 - No protection against live or moving parts. 1 - Protection against contact by large surfaces. 2 - Protection against contact by fingers. 3 - Protection against contact by tools, wires objects > 2.5mm. 4 - Protection against contact by tools, wires objects > 1.0mm. 5 - Complete protection against contact. Ingress of dust not in harmful quantities. 6 - Complete protection against contact. Protection against Ingress of dust.
Note on AG47: Protection against water ingress. 0 - No protection. 1 - Protection against drops of condensed water. 2 - Protection against liquid drops at 15o from vertical. 3 - Protection against liquid drops at 60o from vertical. 4 - Protection against spashing from any direction. 5 - Protection against water jets from any direction under stated conditions. 6 - Protection against heavy sea water under stated conditions. 7 - Protection against water immersion under stated conditions of pressure and time. 8 - Protection against indefinite immersion in water under specified pressure.

## Previous Revisions
Rev | Date | Status | By

## Field Definition Help
Field Color Definitions
Text Labels
Linked Database field - Care must be taken while entering Data into these fields. This will affect the Process and Equipment Information.
Linked Database Fields Data - Full data entry allowed
Linked Bentley Field for Revisions where there is a break between sections - Data entry not allowed (read only)
Linked Bentley Field for Revisions - Data entry not allowed (read only)
Unlinked DataBase Field - Not linked into Bentley Database
Linked Database Fields Data - Drop down menu item picks only
Unused areas
Section Groupings