## X4 Current Data
TAG NO: | [7 empty] | Hookup Drawing No: |  |  |  |  | Loop Wiring Diagrams: | [11 empty] | C-110-A-001 | C-110-A-001
[8 empty] | Spec No: |  |  |  |  | Vessel Number: | [7 empty] | Electrical Protection Method | Gas / Dust Groups | Temperature Category |  | C-110-A-002 | C-110-A-002
Asset No: | [7 empty] | P&ID: |  |  |  |  | Line ID: |  |  |  |  | Size: |  | Schedule: |  |  |  |  | C-110-A-003 | C-110-A-003
Service Description: | [12 empty] | Manufacturer: |  |  | SonTek |  |  |  |  | EEx o | IIC | T1 |  | C-110-A-004 | C-110-A-004
[13 empty] | Model: |  | SL500 | [5 empty] | EEx p | IIC | T2 |  | C-110-AIT-1001A | C-110-AIT-1001A
P.O. Number: | [10 empty] | User 1: | [9 empty] | EEx q | IIB | T2A |  | C-110-AIT-1001B | C-110-AIT-1001B
REQ. Number: | [10 empty] | User 2: | [9 empty] | EEx d | IIA | T2B |  | C-110-AIT-1002A | C-110-AIT-1002A
GENERAL | [20 empty] | EEx e | I | T2C |  | C-110-AIT-1002B | C-110-AIT-1002B
| Area Classification: | [19 empty] | EEx ia | N/A | T2D |  | C-110-FD-1001A | C-110-FD-1001A
| Ambient Relative Humidity: | [19 empty] | EEx ib |  | T3 |  | C-110-FD-1001B | C-110-FD-1001B
| Ambient Temperature: | [19 empty] | EEx n | Certification | T3A |  | C-110-FD-1001C | C-110-FD-1001C
| Activation Source(s): | [19 empty] | EEx m |  | T3B |  | C-110-FH-001 | C-110-FH-001
| Function: | [19 empty] | EEx s | BASEEFA Eexd IIB T4 & T5 | T3C |  | C-110-FH-002 | C-110-FH-002
[21 empty] | N/A | ATEX | T4 |  | C-110-H-001 | C-110-H-001
OCEANOGRAPH | [21 empty] | CENELEC EN50014 and EN50018 | T4A |  | C-110-H-003 | C-110-H-003
| GENERIC | [10 empty] | POWER | [9 empty] | UL Listed: Class 1, Zone 1 & 2, AExd IIB T4 & T5 | T5 |  | C-110-H-010 | C-110-H-010
| Sampling Range: |  |  |  | 1.5 to 120m (5 to 400 ft) | [6 empty] | Input Voltage: |  |  |  | 7-15 VDC | [5 empty] | N/A | T6 |  | C-110-H-013 | C-110-H-013
| Minimum Channel Width: |  |  |  | 6.5m (21 ft) | [6 empty] | Power Consumption: |  |  |  | 0.7 – 1.0 W | [6 empty] | N/A |  | C-110-H-014 | C-110-H-014
| Multi-cell Velocity Profiling: |  |  |  | Up to 10 cells | [6 empty] | Input Current: | [12 empty] | C-110-H-015 | C-110-H-015
| SmartPulseHD: |  |  |  | n/a | [6 empty] | PHYSICAL PROPERTIES | [12 empty] | C-110-H-016 | C-110-H-016
| Compass/Tilt: |  |  |  | Compass/Tilt | [6 empty] | Weight in Air: |  |  |  | 6 kg (13.2 lb) |  |  |  |  | Power | Lens Colour |  |  | C-110-H-017 | C-110-H-017
| Internal Nonvolatile Memory: |  |  |  | 4MB | [6 empty] | Weight in Water: |  |  |  | 1.1 kg (2.5 lb) | [8 empty] | C-110-H-020 | C-110-H-020
| ACOUSTICS | [10 empty] | Max Depth: |  |  |  | 30 m (98 ft) | [8 empty] | C-110-H-021 | C-110-H-021
| Horizontal Beam Width: |  |  |  | 1.4º | [6 empty] | Mounting Plate Dimensions: |  |  |  | 35.5 x 22.9 x 1.5 cm (14” x 9” x 0.6”) |  |  |  |  | 24 VDC | Red |  |  | C-110-H-022 | C-110-H-022
| Vertical Beam Width: |  |  |  | 3.8º | [6 empty] | Operating Temperature: |  |  |  | -5° to 60°C (23°F to 140°F) |  |  |  |  | ~110 VAC 50/60Hz | Blue |  |  | C-110-H-023 | C-110-H-023
| Side Lobe Suppression: |  |  |  | >60dB | [6 empty] | Storage Temperature: |  |  |  | -10° to 70°C (14°F to 148°F) |  |  |  |  | ~240 VAC 50/60Hz | Amber |  |  | C-110-H-024 | C-110-H-024
| WATER VELOCITY | [10 empty] | COMMUNICATION | [8 empty] | N/A | Green |  |  | C-110-HS-1010 | C-110-HS-1010
| Range: |  |  |  | ±6 m/s (20 ft/s) | [6 empty] | Standard Protocols: |  |  |  | RS232/SDI-12 | [5 empty] | Yellow |  |  | C-110-LIT-072 | C-110-LIT-072
| Resolution: |  |  |  | 0.0001 m/s (0.0003 ft/s) | [6 empty] | Software: |  |  |  | ViewArgonaut | [5 empty] | Clear |  |  | C-110-LIT-1001 | C-110-LIT-1001
| Accuracy: |  |  |  | ±1% of measured velocity; | [6 empty] | Modbus Interface Module: |  |  |  | Required for Modbus | [8 empty] | C-110-LIT-1102 | C-110-LIT-1102
| WATER LEVEL | [10 empty] | Analog Output Option: |  |  |  | Separate AO module | [8 empty] | C-110-PD-001 | C-110-PD-001
| Vertical Beam Range: |  |  |  | 0.2 to 18.0 m (0.7 to 59 ft) | [6 empty] | Flow Display Type: |  |  |  | Argonaut® |  |  |  |  | Enclosure Protection IP Rating |  |  |  | C-110-PD-002 | C-110-PD-002
| Vertical Beam Accuracy: |  |  |  | (depth < 6 m): ±0.6 cm (0.02 ft) (depth > 6 m): ±0.1% | [6 empty] | TEMPERATURE SENSOR | [8 empty] | First Number - Protection against solids ingress | Second Number - Protection against water ingress |  |  | C-110-PD-003 | C-110-PD-003
| Pressure Sensor Range: |  |  |  | 20 m | [6 empty] | Temperature Range: |  |  |  | -5° to 60°C (23°F to 140°F) |  |  |  |  | 0 | 0 |  |  | C-110-PD-004 | C-110-PD-004
| Pressure Sensor Accuracy: |  |  |  | 0.25% FS | [6 empty] | Resolution: |  |  |  | ±0.01° C |  |  |  |  | 1 | 1 |  |  | C-110-PD-005 | C-110-PD-005
| Wave Height Spectra: |  |  |  | Optional | [6 empty] | Accuracy: |  |  |  | ±0.1° C |  |  |  |  | 2 | 2 |  |  | C-110-PD-006 | C-110-PD-006
C-110-PD-007
| Connection 1: | [9 empty] | Connection 2: | [13 empty] | C-110-PD-008
| Electrical Protection: | [5 empty] | Gas Group: |  |  | Temperature Category: |  |  |  | Enclosure Protection IP Rating: |  |  |  |  | IP68 |  |  | 8 |  |  | C-110-PD-009 | C-110-PD-012
NOTES | [20 empty] | ENCLOSURE PROTECTION: | N/A |  |  | C-110-PD-010 | C-110-PD-020
[21 empty] | IP20 |  |  |  | C-110-PD-011 | C-110-PD-021
[21 empty] | IP40 |  |  |  | C-110-PD-012 | C-110-PD-022
[21 empty] | IP54 |  |  |  | C-110-PD-020 | C-110-PD-023
[21 empty] | IP56 |  |  |  | C-110-PD-021 | C-110-PD-024
[21 empty] | IP65 |  |  |  | C-110-PD-022 | C-110-PD-025
[21 empty] | IP66 |  |  |  | C-110-PD-023 | C-110-PD-026
[21 empty] | IP67 |  |  |  | C-110-PD-024 | C-110-PD-027
[21 empty] | IP68 |  |  |  | C-110-PD-025 | C-110-PD-030
| ATEX REGISTER | [19 empty] | See Notes |  |  |  | C-110-PD-026 | C-110-PD-031
| EC Type Examination Cert. | [9 empty] | NOBO REF NUMBER | [13 empty] | C-110-PD-027 | C-110-PD-040A
| EC Declaration of Conformity | [9 empty] | User 3: | [13 empty] | C-110-PD-030 | C-110-PD-040B
| Production QA Notification | [9 empty] | User 4: | [13 empty] | C-110-PD-031 | C-110-PD-041A
| Prod. QA Not. Validity Date | [9 empty] | User 5: | [13 empty] | C-110-PD-040A | C-110-PD-041B
User 6 | [10 empty] | User 8 | [13 empty] | C-110-PD-040B | C-110-PD-045
User 7 | [10 empty] | User 9 | [13 empty] | C-110-PD-041A | C-110-PD-046
[25 empty] | C-110-PD-041B | C-110-PD-047
[12 empty] | INSTRUMENT SPECIFICATION | [12 empty] | C-110-PD-045 | C-110-PD-048
[12 empty] | Weatherstation | [12 empty] | C-110-PD-046 | C-110-PD-049
[25 empty] | C-110-PD-047 | C-110-PD-050
[25 empty] | C-110-PD-048 | C-110-PD-051
[12 empty] | Project : |  |  |  |  | Sheet | [7 empty] | C-110-PD-049 | C-110-PD-052
[12 empty] | Project No.: |  |  |  |  | BES Dwg: | [7 empty] | C-110-PD-050 | C-110-PD-053
REV |  | By | Chk | App |  | Date |  |  | Revision Description |  |  | Form No. DS_BES_Weatherstation |  |  |  |  | Client Dwg | [7 empty] | C-110-PD-051 | C-110-PD-055
F:\Elect Inst\Staff only\Engineering Tools\Engineering Database\Python Code\PF Datasheets\DS_BES_Oceanograph\[SonTek SL500.xlsx]X4 Current Data | [16 empty] | 2021-08-10 14:05 | [7 empty] | C-110-PD-052 | C-110-PD-056
[25 empty] | C-110-PD-053 | C-110-PD-057
[25 empty] | C-110-PD-055 | C-110-PD-058
[25 empty] | C-110-PD-056 | C-110-PD-059
[25 empty] | C-110-PD-057 | C-110-PD-060
[25 empty] | C-110-PD-058 | C-110-PD-061
[25 empty] | C-110-PD-059 | C-110-PD-062
[25 empty] | C-110-PD-060 | C-110-PD-063
[25 empty] | C-110-PD-061 | C-110-PD-064
[25 empty] | C-110-PD-062 | C-110-PD-065
[25 empty] | C-110-PD-063 | C-110-PD-070
[25 empty] | C-110-PD-064 | C-110-PD-071A/D
[25 empty] | C-110-PD-065 | C-110-PD-072A/D
[25 empty] | C-110-PD-070 | C-110-PD-073A/D
[25 empty] | C-110-PD-071A/D | C-110-PD-074A/D
[25 empty] | C-110-PD-072A/D | C-110-PIT-074
[25 empty] | C-110-PD-073A/D | C-110-PIT-1001A
[25 empty] | C-110-PD-074A/D | C-110-PIT-1001B
[25 empty] | C-110-PIT-074 | C-110-PIT-1002A
[25 empty] | C-110-PIT-1001A | C-110-PIT-1002B
[25 empty] | C-110-PIT-1001B | C-110-PIT-1102
[25 empty] | C-110-PIT-1002A | C-110-PIT-1103
[25 empty] | C-110-PIT-1002B | C-110-SOV-1001A
[25 empty] | C-110-PIT-1102 | C-110-SOV-1001B
[25 empty] | C-110-PIT-1103 | C-110-SOV-1003-C
[25 empty] | C-110-SOV-1001A | C-110-SOV-1003-O
[25 empty] | C-110-SOV-1001B | C-110-TI-1002
[25 empty] | C-110-SOV-1003-C | C-110-TIT-001
[25 empty] | C-110-SOV-1003-O | C-110-TIT-1001A
[25 empty] | C-110-TI-1002 | C-110-TIT-1001B
[25 empty] | C-110-TIT-001 | C-110-WT-1001A1
[25 empty] | C-110-TIT-1001A | C-110-WT-1001B1
[25 empty] | C-110-TIT-1001B | C-110-ZS-1001A
[25 empty] | C-110-WT-1001A1 | C-110-ZS-1001B
[25 empty] | C-110-WT-1001B1 | C-110-ZS-1002
[25 empty] | C-110-ZS-1001A | C-110-ZSC-1001A
[24 empty] | App | C-110-ZS-1001B | C-110-ZSC-1001B
[24 empty] | Chk | C-110-ZS-1002 | C-110-ZSC-1003
[24 empty] | CurrentData | C-110-ZSC-1001A | C-110-ZSL-1010A
[24 empty] | PreviousData | C-110-ZSC-1001B | C-110-ZSL-1010B
[24 empty] | Print_Area | C-110-ZSC-1003 | C-110-ZSL-1010C
[24 empty] | Rev | C-110-ZSL-1010A | C-110-ZSO-1001A
[24 empty] | RevBy | C-110-ZSL-1010B | C-110-ZSO-1001B
[24 empty] | RevDate | C-110-ZSL-1010C | C-110-ZSO-1003
[24 empty] | RevList | C-110-ZSO-1001A
[24 empty] | RevStatus | C-110-ZSO-1001B
[24 empty] | WSTempResolution | C-110-ZSO-1003
WSWindSpeedAccuracy
Service:
Critical:
rev
rev
rev
rev
Note on G40: Protection Method EEx o - Oil Immersion (zone 1, 2) EEx p - Pressurization (zone 1, 2) EEx q - Powder Filling (zone 1, 2) EEx d - Flameproofing (Explosion Proof) (zone 1, 2) EEx e - Increased Safety (zone 1, 2) EEx ia - Intrinsic Safety (zone 0, 1, 2) EEx ib - Intrinsic Safety (zone 1, 2) EEx n - Non-Incedive (zone 1, 2) EEx m - Encapsulation (zone 1, 2) EEx s - Special Protection (zone 0, 1, 2)
Note on M40: Gas / Dust Groups IIC - Acetylene IIC - Hydrogen IIB - Ethylene IIA - Propane I - Methane
Note on T40: Temperature Category T1 - 450 oC T2 - 300 oC T2A - 280 oC T2B - 260 oC T2C - 230 oC T2D - 215 oC T3 - 200 oC T3A - 180 oC T3B - 165 oC T3C - 160 oC T4 - 135 oC T4A - 120 oC T5 - 100 oC T6 - 85 oC
Note on AD40: Protection against solids ingress. 0 - No protection against live or moving parts. 1 - Protection against contact by large surfaces. 2 - Protection against contact by fingers. 3 - Protection against contact by tools, wires objects > 2.5mm. 4 - Protection against contact by tools, wires objects > 1.0mm. 5 - Complete protection against contact. Ingress of dust not in harmful quantities. 6 - Complete protection against contact. Protection against Ingress of dust. Protection against water ingress. 0 - No protection. 1 - Protection against drops of condensed water. 2 - Protection against liquid drops at 15o from vertical. 3 - Protection against liquid drops at 60o from vertical. 4 - Protection against spashing from any direction. 5 - Protection against water jets from any direction under stated conditions. 6 - Protection against heavy sea water under stated conditions. 7 - Protection against water immersion under stated conditions of pressure and time. 8 - Protection against indefinite immersion in water under specified pressure.

## Previous Revisions
Rev | Date | Status | By

## Field Definition Help
Field Color Definitions
Text Labels
Linked Database field - Care must be taken while entering Data into these fields. This will affect the Process and Equipment Information.
Linked Database Fields Data - Full data entry allowed
Linked REBIS Field for Revisions where there is a break between sections - Data entry not allowed (read only)
Linked REBIS Field for Revisions - Data entry not allowed (read only)
Unlinked DataBase Field - Not linked into Rebis Database
Linked Database Fields Data - Drop down menu item picks only
Unused areas
Section Groupings