## P1 Current Data
Yes/No
TAG NO: | [8 empty] | Hookup Drawing No: | [6 empty] | Loop Wiring Diagrams: | [10 empty] | Service: | [7 empty] | Type | [5 empty] | CC-SPM-FGCP-7601-01 | C-110-A-001
[9 empty] | Spec No: | [6 empty] | Vessel Number: | [10 empty] | Tag No: | 88P1-88 | Process Conditions |  |  | General |  |  | Bourdon | [5 empty] | CC-SPM-FOJB-1010A-01 | C-110-A-002
Asset No: | [8 empty] | P&ID: | [6 empty] | Line ID: | [5 empty] | Size: |  | Schedule: |  |  | Equip No: | [7 empty] | Helical | [5 empty] | CC-SPM-FOJB-1010B-01 | C-110-A-003
Service Description: | [15 empty] | Manufacturer: | [10 empty] | Pipe Size: |  | Service: |  |  | Yes/No |  |  | Spiral | [5 empty] | CC-SPM-FOJB-9701-01 | C-110-A-004
[16 empty] | Model: | [12 empty] | Clean |  |  | Yes |  |  | Diaphragm | [5 empty] | CC-SPM-IJB-7510A-01 | C-110-AIT-1001A
P.O. Number: | [12 empty] | User 1: | [15 empty] | Corrosive |  |  | No |  |  | Bellows | [5 empty] | CC-SPM-IJB-7510B-01 | C-110-AIT-1001B
REQ. Number: | [12 empty] | User 2: | [15 empty] | N/A |  |  | N/A |  |  | N/A | [5 empty] | CC-SPM-IJB-7610A-02 | C-110-AIT-1002A
PROCESS CONDITIONS | [28 empty] | Dirty |  |  | See Notes |  |  | See Notes | [5 empty] | CC-SPM-IJB-7610B-02 | C-110-AIT-1002B
| Hi Pressure Connection: | [11 empty] | Low Pressure Connection | [12 empty] | Units: |  |  | See Notes | [11 empty] | CC-SPM-IJB-7710A-02 | C-110-FD-1001A
| Fluid: | [11 empty] | Fluid: | [27 empty] | CC-SPM-IJB-7710B-01 | C-110-FD-1001B
| Specific Gravity @ Operating Temperature: | [11 empty] | Specific Gravity @ Operating Temperature: | [27 empty] | CC-SPM-LCP-7501-01 | C-110-FD-1001C
| Viscosity @ Operating Temperature: | [11 empty] | Viscosity @ Operating Temperature: | [15 empty] | TRANSMITTER: | [11 empty] | CC-SPM-LCP-7701-01 | C-110-FH-001
| Pressure: | [11 empty] | Pressure: | [27 empty] | CC-SPM-SW-7101-06 | C-110-FH-002
| Min: |  |  |  | Normal: |  |  |  |  | Max: |  |  | Min: |  |  |  | Normal: |  |  |  | Max: | [7 empty] | Power: | Power: |  | Signal |  | Protical |  | Location: |  | Relay 1 (2/3/4): | Characteristic: |  | CC-SPM-SW-7101-07 | C-110-H-001
| Temperature | [11 empty] | Temperature: | [15 empty] | 24 VDC | Loop |  | 4 - 20 mA |  | HART |  | Remote |  | None | Linear |  | CC-SPM-SW-7101-FOJB01-01 | C-110-H-003
| Min: |  |  |  | Normal: |  |  |  |  | Max: |  |  | Min: |  |  |  | Normal: |  |  |  | Max: | [7 empty] | 110 VAC 50/60 Hz | 3-Wire |  | 0 - 5 VDC |  | ModBus |  | Integral |  | N/C | SQR |  | CC-SPM-SW-7101-FOJB01-02 | C-110-H-010
| % solids: | [5 empty] | % Quality: | [5 empty] | % solids: | [5 empty] | % Quality: | [9 empty] | 220 VAC 50/60 Hz | 4-Wire |  | Pulse |  | FF |  | N/A |  | No | N/A |  | IC-SPM-DVS-6001-01 | C-110-H-013
| Service: |  |  |  | Critical: |  |  |  |  | Pulsating: |  |  | Service: |  |  |  | Critical: |  |  |  | Pulsating: | [7 empty] | Other | N/A |  | Other |  | ProfiBus |  | See Notes |  | N/A | See Notes |  | IC-SPM-DVS-6001-02 | C-110-H-014
| Area Classification: | [10 empty] | Ambient Temperature Requirements: | [16 empty] | N/A | See Notes |  | N/A |  | Serial |  |  |  | See Notes |  |  | IC-SPM-ELD-7104-01 | C-110-H-015
[29 empty] | See Notes |  |  | See Notes |  | DE | [6 empty] | IC-SPM-ELD-7108-01 | C-110-H-016
ELEMENT | [12 empty] | TRANSMITTER | [20 empty] | N/A | [6 empty] | IC-SPM-ELV-7103-01 | C-110-H-017
| Type: |  | Diaphragm Seal | [10 empty] | Voltage: | [19 empty] | See Notes | [6 empty] | IC-SPM-ELV-7103-02 | C-110-H-020
| Fill Fluid: |  |  | Silicon | [9 empty] | Power Wiring: | [6 empty] | Signal Type: | [19 empty] | IC-SPM-FD-S7630-01 | C-110-H-021
| Min Span: | [6 empty] | Max Span: | [5 empty] | Communication Protocol: | [6 empty] | Location: | [19 empty] | IC-SPM-FD-S7631-01 | C-110-H-022
| Diaphragm/Wetted Material: |  |  |  |  | AISI 316L | [7 empty] | Smart: |  |  |  | Indicate: |  | Yes |  |  | Isolate: | [17 empty] | IC-SPM-FD-S7632-01 | C-110-H-023
| Vent/Drain Location: |  |  |  | On Flushing Rings | [8 empty] | Electrical Protection: |  |  |  | Ex d |  | Temperature Category: |  |  |  |  | T3 | [15 empty] | IC-SPM-FD-S7633-01 | C-110-H-024
| Vent/Drain Material: |  |  |  | AISI 316 | [8 empty] | Gas Group: |  | IIA |  | Enclosure Protection IP Rating: | [5 empty] | IP66 | [16 empty] | IC-SPM-FD-S7634-01 | C-110-HS-1010
| Process Connection: |  |  |  | 2”, 300#, RF | [8 empty] | Factory Calibration: |  |  |  | Yes | [22 empty] | IC-SPM-FD-S7635-01 | C-110-LIT-072
[14 empty] | Ambient Temperature Compensation: | [5 empty] | Yes | [8 empty] | Electrical Classifications: | [11 empty] | IC-SPM-FD-S7636-01 | C-110-LIT-1001
SEAL DIAPHRAM & CAPILLARY | [13 empty] | Characteristic: |  |  | Gauge |  |  | Calibrated Range: | [20 empty] | IC-SPM-FD-S7637-01 | C-110-LIT-1102
| Length: | [7 empty] | ID: |  |  |  |  | Over Range: |  |  | Acc. NAMUR NE43 |  |  | Zero Elevation: |  |  |  | Yes |  |  |  |  | Electrical Protection: |  | Gas Group: |  | Temperature Category: |  |  |  | Enclosure Protection 1st |  |  | 2nd: | IC-SPM-FD-S7638-01 | C-110-PD-001
| Armor: | [12 empty] | Accuracy: |  |  | 0.065% of Full Span |  |  | Gasket Material: |  |  |  | AISI 316L |  |  |  |  | Ex o |  | IIC |  | T1 |  |  |  | 0 |  |  | 0 | IC-SPM-FD-S7639-01 | C-110-PD-002
| Fill Fluid: | [5 empty] | Max Response Time: | [6 empty] | Gland Connection: |  |  |  | M20 x 1,5 |  |  |  | NACE: |  | Yes |  |  |  |  | Ex p |  | IIC |  | T2 |  |  |  | 1 |  |  | 1 | IC-SPM-FD-S7640-01 | C-110-PD-003
| SG @ 20 oC: | [5 empty] | Capilary Material: | [6 empty] | Element Connection: |  |  |  | Integrated |  |  |  | SS Tag: |  | Yes |  |  |  |  | Ex q |  | IIB |  | T2A |  |  |  | 2 |  |  | 2 | IC-SPM-FD-S7641-01 | C-110-PD-004
| Diaphragm: |  |  |  | Hi Press: | [5 empty] | Low Press: |  |  | Body Max Pressure Rating: |  |  |  |  | 300# | [9 empty] | Ex d |  | IIA |  | T2B |  |  |  | 3 |  |  | 3 | IC-SPM-FD-S7660-01 | C-110-PD-005
| Size & Type: |  |  |  | 2”, 300#, RF | [8 empty] | Body/Flange Material: |  |  |  |  | AISI 316L | [9 empty] | Ex e |  | I |  | T2C |  |  |  | 4 |  |  | 4 | IC-SPM-FD-S7661-01 | C-110-PD-006
| Thickness: |  |  |  | note 1 | [8 empty] | Mounting: |  | Close Coupled | [12 empty] | Ex ia |  | N/A |  | T2D |  |  |  | 5 |  |  | 5 | IC-SPM-FD-S7662-01 | C-110-PD-007
| Material: |  |  |  | AISI 316L | [23 empty] | Ex ib |  | See Notes |  | T3 |  |  |  | 6 |  |  | 6 | IC-SPM-FD-S7663-01 | C-110-PD-008
| Flush Ring: | [11 empty] | MANIFOLD | [15 empty] | Ex n |  |  |  | T3A |  |  |  | N/A |  |  | 7 | IC-SPM-FD-S7664-01 | C-110-PD-009
| Temperature Rating: | [12 empty] | Type: | Integral Manifold | [13 empty] | Ex m |  |  |  | T3B |  |  |  | See Notes |  |  | 8 | IC-SPM-FD-S7680-01 | C-110-PD-010
| Max Temperature: | [12 empty] | Material: | AISI 316L | [13 empty] | Ex s |  |  |  | T3C | [6 empty] | N/A | IC-SPM-FD-S7681-01 | C-110-PD-011
| Pressure Rating: | [12 empty] | Transmitter Connection: |  |  |  | 2”, 300#, RF | [10 empty] | N/A |  |  |  | T4 | [6 empty] | See Notes | IC-SPM-FD-S7682-01 | C-110-PD-012
| Max Pressure: | [12 empty] | Process Connection: |  |  |  | 2”, 300#, RF | [10 empty] | See Notes |  |  |  | T4A | [7 empty] | IC-SPM-FIT-6640-01 | C-110-PD-020
| Manufacturer: | [12 empty] | Manufacturer: |  |  | note 1 | [15 empty] | T5 | [7 empty] | IC-SPM-GD-S7604-01 | C-110-PD-021
| Model: | [12 empty] | Model: | note 1 | [17 empty] | T6 | [7 empty] | IC-SPM-GD-S7605-01 | C-110-PD-022
[14 empty] | Mounting Bracket | [18 empty] | N/A | [7 empty] | IC-SPM-GD-S7606-01 | C-110-PD-023
| Connection 1: | [12 empty] | Connection 2: | [26 empty] | IC-SPM-GD-S7607-01 | C-110-PD-024
NOTES | [32 empty] | See Notes | [7 empty] | IC-SPM-GD-S7608-01 | C-110-PD-025
| 1) Vendor To Advise | [35 empty] | ENCLOSURE PROTECTION: |  |  |  | IC-SPM-GD-S7609-01 | C-110-PD-026
[37 empty] | IP20 |  |  |  | IC-SPM-GD-S7611-01 | C-110-PD-027
| 3) Electrical equipment shall be certified for zone 1 in accordance with the applicable PRC Regulations | [35 empty] | IP40 |  |  |  | IC-SPM-GD-S7612-01 | C-110-PD-030
[37 empty] | IP54 |  |  |  | IC-SPM-GD-S7613-01 | C-110-PD-031
[37 empty] | IP56 |  |  |  | IC-SPM-GD-S7614-01 | C-110-PD-040A
[37 empty] | IP65 |  |  |  | IC-SPM-GD-S7615-01 | C-110-PD-040B
[37 empty] | IP66 |  |  |  | IC-SPM-GD-S7616-01 | C-110-PD-041A
| CERTIFICATION | [35 empty] | IP67 |  |  |  | IC-SPM-GD-S7625-01 | C-110-PD-041B
| EC Type Examination Cert. |  |  |  |  | Yes (HOLD see note 3) | [6 empty] | NOBO REF NUMBER | [23 empty] | IP68 |  |  |  | IC-SPM-GD-S7626-01 | C-110-PD-045
| EC Declaration of Conformity |  |  |  |  | Yes (HOLD see note 3) | [6 empty] | IECExQAR | [23 empty] | See Notes |  |  |  | IC-SPM-GD-S7627-01 | C-110-PD-046
| Production QA Notification | [11 empty] | IECEx Certificate of Conformity |  |  |  |  | Yes (HOLD see note 3) | [22 empty] | IC-SPM-GD-S7650-01 | C-110-PD-047
| Prod. QA Not. Validity Date | [11 empty] | User 5: | [27 empty] | IC-SPM-GD-S7651-01 | C-110-PD-048
[41 empty] | IC-SPM-GD-S7652-01 | C-110-PD-049
[14 empty] | INSTRUMENT SPECIFICATION | [26 empty] | IC-SPM-GD-S7653-01 | C-110-PD-050
[14 empty] | Pressure Indicating Transmitter | [26 empty] | IC-SPM-GD-S7654-01 | C-110-PD-051
[41 empty] | IC-SPM-GD-S7655-01 | C-110-PD-052
[41 empty] | IC-SPM-GD-S7656-01 | C-110-PD-053
[14 empty] | Project : | [6 empty] | Sheet | [19 empty] | IC-SPM-GD-S7657-01 | C-110-PD-055
[14 empty] | Project No.: | [6 empty] | BES Dwg: | [19 empty] | IC-SPM-GD-S7670-01 | C-110-PD-056
REV |  | By |  | Chk | App |  | Date |  |  | Revision Description |  |  |  | Form No. DS_BES_PIT | [6 empty] | Client Dwg | [19 empty] | IC-SPM-GD-S7671-01 | C-110-PD-057
D:\Redirected\Desktop\PinDB\PF Datasheets\DS_BES_PIT\[VEGABAR_83.xlsx]P1 Current Data | [20 empty] | 2022-02-03 11:11 | [19 empty] | IC-SPM-GD-S7672-01 | C-110-PD-058
[41 empty] | IC-SPM-GD-S7673-01 | C-110-PD-059
[41 empty] | IC-SPM-HPU-9401-HS02A-01 | C-110-PD-060
[41 empty] | IC-SPM-HPU-9401-HS02B-01 | C-110-PD-061
[41 empty] | IC-SPM-HPU-9401-HS03A-01 | C-110-PD-062
[41 empty] | IC-SPM-HPU-9401-HS03B-01 | C-110-PD-063
[41 empty] | IC-SPM-HPU-9401-LIT05-01 | C-110-PD-064
[41 empty] | IC-SPM-HPU-9401-LIT07-01 | C-110-PD-065
[41 empty] | IC-SPM-HPU-9401-PB01-01 | C-110-PD-070
[41 empty] | IC-SPM-HPU-9401-PIT04-01 | C-110-PD-071A/D
[41 empty] | IC-SPM-HPU-9401-PIT06-01 | C-110-PD-072A/D
[41 empty] | IC-SPM-HPU-9401-SV01-01 | C-110-PD-073A/D
[41 empty] | IC-SPM-HPU-9401-SV02-01 | C-110-PD-074A/D
[41 empty] | IC-SPM-HPU-9401-SV03-01 | C-110-PIT-074
[41 empty] | IC-SPM-HPU-9401-TIT08-01 | C-110-PIT-1001A
[41 empty] | IC-SPM-HS-3501A-01 | C-110-PIT-1001B
[41 empty] | IC-SPM-HS-3501B-01 | C-110-PIT-1002A
[41 empty] | IC-SPM-HS-6601A-01 | C-110-PIT-1002B
[41 empty] | IC-SPM-HS-6601B-01 | C-110-PIT-1102
[41 empty] | IC-SPM-HS-6602A-01 | C-110-PIT-1103
[41 empty] | IC-SPM-HS-6602B-01 | C-110-SOV-1001A
[41 empty] | IC-SPM-IJB-3510-01 | C-110-SOV-1001B
[41 empty] | IC-SPM-IJB-3520-01 | C-110-SOV-1003-C
[41 empty] | IC-SPM-IJB-6610-01 | C-110-SOV-1003-O
[41 empty] | IC-SPM-IJB-6620-01 | C-110-TI-1002
[41 empty] | IC-SPM-IJB-6640-01 | C-110-TIT-001
[41 empty] | IC-SPM-IJB-6650-01 | C-110-TIT-1001A
[41 empty] | IC-SPM-IJB-7101-01 | C-110-TIT-1001B
[41 empty] | IC-SPM-IJB-7101-02 | C-110-WT-1001A1
[41 empty] | IC-SPM-IJB-7101-03 | C-110-WT-1001B1
[41 empty] | IC-SPM-IJB-7101-04 | C-110-ZS-1001A
[41 empty] | IC-SPM-IJB-7101-05 | C-110-ZS-1001B
[41 empty] | IC-SPM-IJB-7101-06 | C-110-ZS-1002
[41 empty] | IC-SPM-IJB-7101-07 | C-110-ZSC-1001A
[41 empty] | IC-SPM-IJB-7507-01 | C-110-ZSC-1001B
[41 empty] | IC-SPM-IJB-7507-02 | C-110-ZSC-1003
[41 empty] | IC-SPM-IJB-7507-03 | C-110-ZSL-1010A
[41 empty] | IC-SPM-IJB-7507-04 | C-110-ZSL-1010B
[41 empty] | IC-SPM-IJB-7610A-01 | C-110-ZSL-1010C
[41 empty] | IC-SPM-IJB-7610A-03 | C-110-ZSO-1001A
[41 empty] | IC-SPM-IJB-7610A-04 | C-110-ZSO-1001B
[41 empty] | IC-SPM-IJB-7707-01 | C-110-ZSO-1003
IC-SPM-IJB-7710A-01
IC-SPM-IJB-9101-01
IC-SPM-IJB-9410-01
IC-SPM-IJB-9410-02
IC-SPM-IJB-9420-01
IC-SPM-LD-7102-01
IC-SPM-LD-7102-02
IC-SPM-LD-7107-01
IC-SPM-LD-7107-02
IC-SPM-LIT-3521-01
IC-SPM-LIT-3522-01
IC-SPM-LIT-6621-01
IC-SPM-LIT-6622-01
IC-SPM-LIT-6651-01
IC-SPM-LV-7101-01
IC-SPM-LV-7101-02
IC-SPM-MFS-S7690-01
IC-SPM-MFS-S7691-01
IC-SPM-PB-3501-01
IC-SPM-PB-6601-01
IC-SPM-PB-6602-01
IC-SPM-PIT-3510-01
IC-SPM-PIT-6610-01
IC-SPM-PIT-6645-01
IC-SPM-PIT-9111-01
IC-SPM-PIT-9112-01
IC-SPM-PIT-9150-01
IC-SPM-PIT-9151-01
IC-SPM-SDY-9101-01
IC-SPM-SV-3501A-01
IC-SPM-SV-3501B-01
IC-SPM-SV-6601A-01
IC-SPM-SV-6601B-01
IC-SPM-SV-6602A-01
IC-SPM-SV-6602B-01
IC-SPM-SW-7101-01
IC-SPM-SW-7101-02
IC-SPM-SW-7101-03
IC-SPM-SW-7101-04
IC-SPM-SW-7101-05
IC-SPM-SW-7110-01
IC-SPM-SW-7110-02
IC-SPM-TIT-3505-01
IC-SPM-TIT-6603-01
IC-SPM-TIT-6605-01
IC-SPM-TIT-6606-01
IC-SPM-TIT-9121-01
IC-SPM-UPS-7105-01
IC-SPM-UPS-7106-01
IC-SPM-UPS-7106-02
IC-SPM-WI-9801A-01
IC-SPM-WI-9801B-01
IC-SPM-WI-9801C-01
IC-SPM-X-5502-IJB10-01
IC-SPM-X-5503-IJB10-01
IC-SPM-XI-9105-01
IC-SPM-XI-9160-01
IC-SPM-SW-7110-01
IC-SPM-SW-7110-02
IC-SPM-TIT-3505-01
IC-SPM-TIT-6603-01
IC-SPM-TIT-6605-01
IC-SPM-TIT-6606-01
IC-SPM-TIT-9121-01
IC-SPM-UPS-7105-01
IC-SPM-UPS-7106-01
IC-SPM-UPS-7106-02
IC-SPM-XI-9105-01
IC-SPM-XI-9160-01
rev
rev
rev
rev
rev
rev
Note on T19: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on Y19: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on AE19: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on D23: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on V23: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on V24: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on AE24: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on X25: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on AE25: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on U26: Please SELECT one of the item's on the list or leave BLANK!
Note on AA26: Please SELECT one of the item's on the list or leave BLANK!
Note on AF26: Please SELECT one of the item's on the list or leave BLANK!
Note on X27: Protection Method Ex o - Oil Immersion (zone 1, 2) Ex p - Pressurization (zone 1, 2) Ex q - Powder Filling (zone 1, 2) Ex d - Flameproofing (Explosion Proof) (zone 1, 2) Ex e - Increased Safety (zone 1, 2) Ex ia - Intrinsic Safety (zone 0, 1, 2) Ex ib - Intrinsic Safety (zone 1, 2) Ex n - Non-Incedive (zone 1, 2) Ex m - Encapsulation (zone 1, 2) Ex s - Special Protection (zone 0, 1, 2)
Note on AF27: Temperature Category T1 - 450 oC T2 - 300 oC T2A - 280 oC T2B - 260 oC T2C - 230 oC T2D - 215 oC T3 - 200 oC T3A - 180 oC T3B - 165 oC T3C - 160 oC T4 - 135 oC T4A - 120 oC T5 - 100 oC T6 - 85 oC
Note on V28: Gas / Dust Groups IIC - Acetylene IIC - Hydrogen IIB - Ethylene IIA - Propane I - Methane
Note on AE28: Protection against solids ingress. 0 - No protection against live or moving parts. 1 - Protection against contact by large surfaces. 2 - Protection against contact by fingers. 3 - Protection against contact by tools, wires objects > 2.5mm. 4 - Protection against contact by tools, wires objects > 1.0mm. 5 - Complete protection against contact. Ingress of dust not in harmful quantities. 6 - Complete protection against contact. Protection against Ingress of dust. Protection against water ingress. 0 - No protection. 1 - Protection against drops of condensed water. 2 - Protection against liquid drops at 15o from vertical. 3 - Protection against liquid drops at 60o from vertical. 4 - Protection against spashing from any direction. 5 - Protection against water jets from any direction under stated conditions. 6 - Protection against heavy sea water under stated conditions. 7 - Protection against water immersion under stated conditions of pressure and time. 8 - Protection against indefinite immersion in water under specified pressure.
Note on AA30: Please click arrow to SELECT one of the items on the list or leave BLANK

## Previous Data
TAG NO: |  |  |  |  | Hookup Drawings: |  |  |  |  | Loop Wiring Diagrams:
[5 empty] | Spec No: |  |  |  |  | Vessel Number:
Asset No: |  |  |  |  | P&ID: |  |  |  |  | Line ID: | [5 empty] | Size: |  | Schedule:
Service Description: | [9 empty] | Manufacturer:
Model:
P.O. Number: | [7 empty] | User 4:
REQ. Number: | [7 empty] | User 5:
PROCESS CONDITIONS
| Hi Pressure Connection: | [6 empty] | Low Pressure Connection | [10 empty] | Units:
| Fluid: | [6 empty] | Fluid:
| Specific Gravity @ Operating Temperature: | [6 empty] | Specific Gravity @ Operating Temperature:
| Viscosity @ Operating Temperature: | [6 empty] | Viscosity @ Operating Temperature:
| Pressure: | [6 empty] | Pressure:
| Min: | Normal: |  |  |  | Max: |  | Min: |  |  | Normal: |  |  |  | Max:
| Temperature: | [6 empty] | Temperature:
| Min: | Normal: |  |  |  | Max: |  | Min: |  |  | Normal: |  |  |  | Max:
| % solids: |  | % Quality: |  |  |  |  | % solids: |  |  |  |  | % Quality:
| Service: | Critical: |  |  |  | Pulsating: |  | Service: |  |  | Critical: |  |  |  | Pulsating:
| Area Classification: | [6 empty] | Ambient Temperature Requirements:
ELEMENT | [7 empty] | TRANSMITTER
| Type: | [7 empty] | Voltage:
| Fill Fluid: | [7 empty] | Power Wiring: | [5 empty] | Signal Type:
| Min Span: |  |  | Max Span: |  |  |  |  | Communication Protocol: | [5 empty] | Location:
| Diaphragm/Wetted Material: | [7 empty] | Smart: |  |  | Indicate: |  |  |  |  | Isolate:
| Vent/Drain Location: | [7 empty] | Electrical Protection: |  |  |  |  | Temperature Category:
| Vent/Drain Material: | [7 empty] | Gas Group: |  |  | Enclosure Protection IP Rating:
| Process Connection: | [7 empty] | Factory Calibration:
Ambient Temperature Compensation:
SEAL DIAPHRAM & CAPILLARY | [8 empty] | Characteristic: |  |  |  |  | Calibrated Range:
| Length: |  |  |  | ID: |  |  |  | Over Range: |  |  |  |  | Zero Elevation:
| Armor: | [7 empty] | Accuracy: |  |  |  |  | Gasket Material:
| Fill Fluid: |  | Max Response Time: | [5 empty] | Gland Connection: | [6 empty] | NACE:
| SG @ 60 oF: |  | Capilary Material: | [5 empty] | Element Connection: | [6 empty] | SS Tag:
| Diaphragm: | Hi Press: |  |  |  |  | Low Press: |  | Body Max Pressure Rating:
| Size & Type: | [7 empty] | Body/Flange Material:
| Thickness: | [7 empty] | Mounting:
Material:
| Flush Ring: | [6 empty] | MANIFOLD
| Temperature Rating: | [7 empty] | Type:
| Max Temperature: | [7 empty] | Material:
| Pressure Rating: | [7 empty] | Transmitter Connection:
| Max Pressure: | [7 empty] | Process Connection:
| Manufacturer: | [7 empty] | Manufacturer:
| Model: | [7 empty] | Model:
NOTES
ATEX REGISTER
| EC Type Examination Cert. | [6 empty] | NOBO REF NUMBER
| EC Declaration of Conformity | [6 empty] | User 1:
| Production QA Notification | [6 empty] | User 2:
| Prod. QA Not. Validity Date | [6 empty] | User 3:
rev
BODY / CAGE
NOTES
rev
Service:
Service:
DISPLACER / FLOAT
TRANSMITER / CONTROL
Type:
Service:
Critical:
Pulsating:
Service:
Critical:
Pulsating:
Electrical Protection:
Ouput/Communication:
Factory Calibration:
NACE:
Power:
Gas Group:
Temperature Catagory:
Enclosure Protection:
Characteristic:
rev
rev
rev
rev
rev
rev
rev
Solenoid & Switches
Electric Valve Actuator
Notes
Solenoid
Electric Valve Actuator
Switches
Note on T19: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on Y19: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on AE19: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on D23: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on V23: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on V24: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on AE24: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on X25: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on AE25: Please click arrow to SELECT one of the items on the list or leave BLANK
Note on U26: Please SELECT one of the item's on the list or leave BLANK!
Note on AA26: Please SELECT one of the item's on the list or leave BLANK!
Note on AF26: Please SELECT one of the item's on the list or leave BLANK!
Note on X27: Protection Method EEx o - Oil Immersion (zone 1, 2) EEx p - Pressurization (zone 1, 2) EEx q - Powder Filling (zone 1, 2) EEx d - Flameproofing (Explosion Proof) (zone 1, 2) EEx e - Increased Safety (zone 1, 2) EEx ia - Intrinsic Safety (zone 0, 1, 2) EEx ib - Intrinsic Safety (zone 1, 2) EEx n - Non-Incedive (zone 1, 2) EEx m - Encapsulation (zone 1, 2) EEx s - Special Protection (zone 0, 1, 2)
Note on AF27: Temperature Category T1 - 450 oC T2 - 300 oC T2A - 280 oC T2B - 260 oC T2C - 230 oC T2D - 215 oC T3 - 200 oC T3A - 180 oC T3B - 165 oC T3C - 160 oC T4 - 135 oC T4A - 120 oC T5 - 100 oC T6 - 85 oC
Note on V28: Gas / Dust Groups IIC - Acetylene IIC - Hydrogen IIB - Ethylene IIA - Propane I - Methane
Note on AE28: Protection against solids ingress. 0 - No protection against live or moving parts. 1 - Protection against contact by large surfaces. 2 - Protection against contact by fingers. 3 - Protection against contact by tools, wires objects > 2.5mm. 4 - Protection against contact by tools, wires objects > 1.0mm. 5 - Complete protection against contact. Ingress of dust not in harmful quantities. 6 - Complete protection against contact. Protection against Ingress of dust. Protection against water ingress. 0 - No protection. 1 - Protection against drops of condensed water. 2 - Protection against liquid drops at 15o from vertical. 3 - Protection against liquid drops at 60o from vertical. 4 - Protection against spashing from any direction. 5 - Protection against water jets from any direction under stated conditions. 6 - Protection against heavy sea water under stated conditions. 7 - Protection against water immersion under stated conditions of pressure and time. 8 - Protection against indefinite immersion in water under specified pressure.
Note on AA30: Please click arrow to SELECT one of the items on the list or leave BLANK

## Previous Revisions
Rev | Date | Status | By

## Field Definition Help
Field Color Definitions
Text Labels
Linked Database field - Care must be taken while entering Data into these fields. This will affect the Process and Equipment Information.
Linked Database Fields Data - Full data entry allowed
Linked Bentley Field for Revisions where there is a break between sections - Data entry not allowed (read only)
Linked Bentley Field for Revisions - Data entry not allowed (read only)
Unlinked DataBase Field - Not linked into Bentley Database
Linked Database Fields Data - Drop down menu item picks only
Unused areas
Section Groupings