## X4 Current Data
TAG NO: | [6 empty] | Hookup Drawing No: | [6 empty] | Loop Wiring Diagrams: | [10 empty] | C-110-A-001 | C-110-A-001
[7 empty] | Spec No: | [6 empty] | Vessel Number: | [7 empty] | Electrical Protection Method | Gas / Dust Groups | Temperature Category | C-110-A-002 | C-110-A-002
Asset No: | [6 empty] | P&ID: | [6 empty] | Line ID: |  |  |  |  | Size: |  | Schedule: |  |  |  | C-110-A-003 | C-110-A-003
Service Description: | [13 empty] | Manufacturer: |  |  | DNH |  |  |  |  | EEx o | IIC | T1 | C-110-A-004 | C-110-A-004
[14 empty] | Model: |  | DSP-15 EExmN(T) | [5 empty] | EEx p | IIC | T2 | C-110-AIT-1001A | C-110-AIT-1001A
P.O. Number: | [10 empty] | User 1: | [10 empty] | EEx q | IIB | T2A | C-110-AIT-1001B | C-110-AIT-1001B
REQ. Number: | [10 empty] | User 2: | [10 empty] | EEx d | IIA | T2B | C-110-AIT-1002A | C-110-AIT-1002A
GENERAL | [21 empty] | EEx e | I | T2C | C-110-AIT-1002B | C-110-AIT-1002B
| Area Classification: | [20 empty] | EEx ia | N/A | T2D | C-110-FD-1001A | C-110-FD-1001A
| Ambient Relative Humidity: | [20 empty] | EEx ib |  | T3 | C-110-FD-1001B | C-110-FD-1001B
| Ambient Temperature: | [20 empty] | EEx n | Certification | T3A | C-110-FD-1001C | C-110-FD-1001C
| Activation Source(s): | [20 empty] | EEx m |  | T3B | C-110-FH-001 | C-110-FH-001
| Function: | [20 empty] | EEx s | BASEEFA Eexd IIB T4 & T5 | T3C | C-110-FH-002 | C-110-FH-002
[22 empty] | N/A | ATEX | T4 | C-110-H-001 | C-110-H-001
SPEAKER | [22 empty] | CENELEC EN50014 and EN50018 | T4A | C-110-H-003 | C-110-H-003
| Rated / Max Power: |  |  | 15 W /15 W | [6 empty] | Height: |  |  |  | 144 mm | [7 empty] | UL Listed: Class 1, Zone 1 & 2, AExd IIB T4 & T5 | T5 | C-110-H-010 | C-110-H-010
| SPL 1W/1m: |  |  | 105 dB (IIB) 102 dB (IIC) | [6 empty] | Width: |  |  |  | 186 mm | [7 empty] | N/A | T6 | C-110-H-013 | C-110-H-013
| SPL rated power: |  |  | 116 dB (IIB) / 113 dB (IIC) | [6 empty] | Material: |  |  |  | Black Anti-static PA | [8 empty] | N/A | C-110-H-014 | C-110-H-014
| Frequency Range: |  |  | 410 - 7000 Hz (IIB) / 500-6000 Hz (IIC) | [6 empty] | Mounting: |  |  |  | Bracket | [9 empty] | C-110-H-015 | C-110-H-015
| Dispersion: |  |  | 1kHz/4kHz 200⁰ / 50⁰ (IIB) 105⁰ / 35⁰ (IIC) | [6 empty] | Gland Connection: |  |  |  | 1 x M20 IECEx and 1 x IECEx | [9 empty] | C-110-H-016 | C-110-H-016
| Weight: |  |  | 2.2 kg | [6 empty] | Termination: |  |  |  | e-chamber, screw terminals | [6 empty] | Power | Lens Colour |  | C-110-H-017 | C-110-H-017
| Length: |  |  | 207 mm | [6 empty] | Oper.Temp.Range: |  |  |  | 55°C / -50°C | [9 empty] | C-110-H-020 | C-110-H-020
| Connection 1: | [9 empty] | Connection 2: | [13 empty] | C-110-H-021 | C-110-H-021
| Electrical Protection: |  |  | EEx m |  | Gas Group: |  |  | IIC | Temperature Category: |  |  | T4 |  | Enclosure Protection IP Rating: |  |  |  |  | IP67 |  | 24 VDC | Red |  | C-110-H-022 | C-110-H-022
[22 empty] | ~110 VAC 50/60Hz | Blue |  | C-110-H-023 | C-110-H-023
ACCESSORY | [21 empty] | ~240 VAC 50/60Hz | Amber |  | C-110-H-024 | C-110-H-024
| Transformer: | [20 empty] | N/A | Green |  | C-110-HS-1010 | C-110-HS-1010
| Mounting Kit: | [21 empty] | Yellow |  | C-110-LIT-072 | C-110-LIT-072
| Other: | [21 empty] | Clear |  | C-110-LIT-1001 | C-110-LIT-1001
[25 empty] | C-110-LIT-1102 | C-110-LIT-1102
[25 empty] | C-110-PD-001 | C-110-PD-001
[22 empty] | Enclosure Protection IP Rating |  |  | C-110-PD-002 | C-110-PD-002
[22 empty] | First Number - Protection against solids ingress | Second Number - Protection against water ingress |  | C-110-PD-003 | C-110-PD-003
[22 empty] | 0 | 0 |  | C-110-PD-004 | C-110-PD-004
[22 empty] | 1 | 1 |  | C-110-PD-005 | C-110-PD-005
[22 empty] | 2 | 2 |  | C-110-PD-006 | C-110-PD-006
[22 empty] | 3 | 3 |  | C-110-PD-007 | C-110-PD-007
[22 empty] | 4 | 4 |  | C-110-PD-008 | C-110-PD-008
[22 empty] | 5 | 5 |  | C-110-PD-009 | C-110-PD-009
[22 empty] | 6 | 6 |  | C-110-PD-010 | C-110-PD-010
[22 empty] | N/A | 7 |  | C-110-PD-011 | C-110-PD-011
[23 empty] | 8 |  | C-110-PD-012 | C-110-PD-012
NOTES | [21 empty] | ENCLOSURE PROTECTION: | N/A |  | C-110-PD-020 | C-110-PD-020
[22 empty] | IP20 |  |  | C-110-PD-021 | C-110-PD-021
[22 empty] | IP40 |  |  | C-110-PD-022 | C-110-PD-022
[22 empty] | IP54 |  |  | C-110-PD-023 | C-110-PD-023
[22 empty] | IP56 |  |  | C-110-PD-024 | C-110-PD-024
[22 empty] | IP65 |  |  | C-110-PD-025 | C-110-PD-025
[22 empty] | IP66 |  |  | C-110-PD-026 | C-110-PD-026
[22 empty] | IP67 |  |  | C-110-PD-027 | C-110-PD-027
[22 empty] | IP68 |  |  | C-110-PD-030 | C-110-PD-030
| ATEX REGISTER | [20 empty] | See Notes |  |  | C-110-PD-031 | C-110-PD-031
| EC Type Examination Cert. | [9 empty] | NOBO REF NUMBER | [13 empty] | C-110-PD-040A | C-110-PD-040A
| EC Declaration of Conformity | [9 empty] | User 3: | [13 empty] | C-110-PD-040B | C-110-PD-040B
| Production QA Notification | [9 empty] | User 4: | [13 empty] | C-110-PD-041A | C-110-PD-041A
| Prod. QA Not. Validity Date | [9 empty] | User 5: | [13 empty] | C-110-PD-041B | C-110-PD-041B
User 6 | [10 empty] | User 8 | [13 empty] | C-110-PD-045 | C-110-PD-045
User 7 | [10 empty] | User 9 | [13 empty] | C-110-PD-046 | C-110-PD-046
[25 empty] | C-110-PD-047 | C-110-PD-047
[12 empty] | INSTRUMENT SPECIFICATION | [12 empty] | C-110-PD-048 | C-110-PD-048
[12 empty] | Speaker | [12 empty] | C-110-PD-049 | C-110-PD-049
[25 empty] | C-110-PD-050 | C-110-PD-050
[25 empty] | C-110-PD-051 | C-110-PD-051
[12 empty] | Project : | [5 empty] | Sheet | [6 empty] | C-110-PD-052 | C-110-PD-052
[12 empty] | Project No.: | [5 empty] | BES Dwg: | [6 empty] | C-110-PD-053 | C-110-PD-053
REV |  | By | Chk | App | Date |  |  | Revision Description |  |  |  | Form No. DS_BES_Beacon | [5 empty] | Client Dwg | [6 empty] | C-110-PD-055 | C-110-PD-055
F:\Elect Inst\Staff only\Engineering Tools\Engineering Database\Python Code\PF Datasheets\DS_BES_Speaker\[DNH DSP-15.xlsx]X4 Current Data | [17 empty] | 2021-08-05 13:47 | [6 empty] | C-110-PD-056 | C-110-PD-056
[25 empty] | C-110-PD-057 | C-110-PD-057
[25 empty] | C-110-PD-058 | C-110-PD-058
[25 empty] | C-110-PD-059 | C-110-PD-059
[25 empty] | C-110-PD-060 | C-110-PD-060
[25 empty] | C-110-PD-061 | C-110-PD-061
[25 empty] | C-110-PD-062 | C-110-PD-062
[25 empty] | C-110-PD-063 | C-110-PD-063
[25 empty] | C-110-PD-064 | C-110-PD-064
[25 empty] | C-110-PD-065 | C-110-PD-065
[25 empty] | C-110-PD-070 | C-110-PD-070
[25 empty] | C-110-PD-071A/D | C-110-PD-071A/D
[25 empty] | C-110-PD-072A/D | C-110-PD-072A/D
[25 empty] | C-110-PD-073A/D | C-110-PD-073A/D
[25 empty] | C-110-PD-074A/D | C-110-PD-074A/D
[25 empty] | C-110-PIT-074 | C-110-PIT-074
[25 empty] | C-110-PIT-1001A | C-110-PIT-1001A
[25 empty] | C-110-PIT-1001B | C-110-PIT-1001B
[25 empty] | C-110-PIT-1002A | C-110-PIT-1002A
[25 empty] | C-110-PIT-1002B | C-110-PIT-1002B
[25 empty] | C-110-PIT-1102 | C-110-PIT-1102
[25 empty] | C-110-PIT-1103 | C-110-PIT-1103
[25 empty] | C-110-SOV-1001A | C-110-SOV-1001A
[25 empty] | C-110-SOV-1001B | C-110-SOV-1001B
[25 empty] | C-110-SOV-1003-C | C-110-SOV-1003-C
[25 empty] | C-110-SOV-1003-O | C-110-SOV-1003-O
[25 empty] | C-110-TI-1002 | C-110-TI-1002
[25 empty] | C-110-TIT-001 | C-110-TIT-001
[25 empty] | C-110-TIT-1001A | C-110-TIT-1001A
[25 empty] | C-110-TIT-1001B | C-110-TIT-1001B
[25 empty] | C-110-WT-1001A1 | C-110-WT-1001A1
[25 empty] | C-110-WT-1001B1 | C-110-WT-1001B1
[25 empty] | C-110-ZS-1001A | C-110-ZS-1001A
[25 empty] | C-110-ZS-1001B | C-110-ZS-1001B
[25 empty] | C-110-ZS-1002 | C-110-ZS-1002
[25 empty] | C-110-ZSC-1001A | C-110-ZSC-1001A
[25 empty] | C-110-ZSC-1001B | C-110-ZSC-1001B
[25 empty] | C-110-ZSC-1003 | C-110-ZSC-1003
[25 empty] | C-110-ZSL-1010A | C-110-ZSL-1010A
[25 empty] | C-110-ZSL-1010B | C-110-ZSL-1010B
[25 empty] | C-110-ZSL-1010C | C-110-ZSL-1010C
[25 empty] | C-110-ZSO-1001A | C-110-ZSO-1001A
[25 empty] | C-110-ZSO-1001B | C-110-ZSO-1001B
[25 empty] | C-110-ZSO-1003 | C-110-ZSO-1003
Service:
Critical:
rev
rev
rev
rev
Note on G25: Protection Method EEx o - Oil Immersion (zone 1, 2) EEx p - Pressurization (zone 1, 2) EEx q - Powder Filling (zone 1, 2) EEx d - Flameproofing (Explosion Proof) (zone 1, 2) EEx e - Increased Safety (zone 1, 2) EEx ia - Intrinsic Safety (zone 0, 1, 2) EEx ib - Intrinsic Safety (zone 1, 2) EEx n - Non-Incedive (zone 1, 2) EEx m - Encapsulation (zone 1, 2) EEx s - Special Protection (zone 0, 1, 2)
Note on M25: Gas / Dust Groups IIC - Acetylene IIC - Hydrogen IIB - Ethylene IIA - Propane I - Methane
Note on T25: Temperature Category T1 - 450 oC T2 - 300 oC T2A - 280 oC T2B - 260 oC T2C - 230 oC T2D - 215 oC T3 - 200 oC T3A - 180 oC T3B - 165 oC T3C - 160 oC T4 - 135 oC T4A - 120 oC T5 - 100 oC T6 - 85 oC
Note on AD25: Protection against solids ingress. 0 - No protection against live or moving parts. 1 - Protection against contact by large surfaces. 2 - Protection against contact by fingers. 3 - Protection against contact by tools, wires objects > 2.5mm. 4 - Protection against contact by tools, wires objects > 1.0mm. 5 - Complete protection against contact. Ingress of dust not in harmful quantities. 6 - Complete protection against contact. Protection against Ingress of dust. Protection against water ingress. 0 - No protection. 1 - Protection against drops of condensed water. 2 - Protection against liquid drops at 15o from vertical. 3 - Protection against liquid drops at 60o from vertical. 4 - Protection against spashing from any direction. 5 - Protection against water jets from any direction under stated conditions. 6 - Protection against heavy sea water under stated conditions. 7 - Protection against water immersion under stated conditions of pressure and time. 8 - Protection against indefinite immersion in water under specified pressure.

## Previous Revisions
Rev | Date | Status | By

## Field Definition Help
Field Color Definitions
Text Labels
Linked Database field - Care must be taken while entering Data into these fields. This will affect the Process and Equipment Information.
Linked Database Fields Data - Full data entry allowed
Linked REBIS Field for Revisions where there is a break between sections - Data entry not allowed (read only)
Linked REBIS Field for Revisions - Data entry not allowed (read only)
Unlinked DataBase Field - Not linked into Rebis Database
Linked Database Fields Data - Drop down menu item picks only
Unused areas
Section Groupings